## Bidtab
|  |  |  | Wiking Corporation 2655 Walsh Road San Antonio, Texas 78224 |  |  | Austin engineering Co., Inc. P. O. Box 342349 Austin, Texas 78734 |  |  | Shannon-Monk, Inc. P. O. Box 1049 Helotes, Texas 78023-1049
Solicitation No.: | B-11-014-DG | Contract No.: C-11-015-DG
SAN ANTONIO WATER SYSTEM
P. O. BOX 2449
SAN ANTONIO, TEXAS 78298-2449
TABULATION OF BIDS
PROPOSAL: |  | Eastside Service Center Order Control and
Recycled Filling Station Project
Job # 11-8605-202 & 11-2516
TIME & |  | 02:00 P.M.
DATE: |  | 2011-03-31
Item No. | Estimate Qty | Unit of Issue | Description | Unit Price |  |  | Unit Price |  | Total | Unit Price |  | Total
550.1 | 930 | LF | Trench Excavation Safety Protection |  | Rejected Bid - Non Responsivie |  | 1 | Percentage | 930 | 11 | Percentage | 10230
814 | 60 | LF | 6" Ductile iron Pipe |  |  |  | 55 |  | 3300 | 79 |  | 4740
818 | 38 | LF | 2" PVC Waterline |  |  |  | 30 |  | 1140 | 19 |  | 722
818 | 385 | LF | 6" PVC Waterline |  |  |  | 40 |  | 15400 | 52 |  | 20020
1 | 200 | LF | Furnish 6" HDPE Waterline |  |  |  | 60 |  | 12000 | 84 |  | 16800
822 | 25 | LF | Long yard Piping (Open Cut) |  |  |  | 15 |  | 375 | 55 |  | 1375
828 | 1 | EA | 2" Gate Valve |  |  |  | 610 |  | 610 | 600 |  | 600
828 | 12 | EA | 6" Gate Valve |  |  |  | 1000 |  | 12000 | 1100 |  | 13200
828 | 1 | EA | 8" Gate Valve |  |  |  | 1340 |  | 1340 | 1500 |  | 1500
2 | 1 | EA | 6" Double Check Valve |  |  |  | 4400 |  | 4400 | 14000 |  | 14000
832 | 1 | EA | 6" X 6" Tapping Sleeves and Valves |  |  |  | 5200 |  | 5200 | 3500 |  | 3500
832 | 1 | EA | 36" X 8" Tapping Sleeve and Valves |  |  |  | 7400 |  | 7400 | 8000 |  | 8000
833 | 2 | EA | Meter Box |  |  |  | 5600 |  | 11200 | 1500 |  | 3000
834 | 4 | EA | Fire Hydrant |  |  |  | 2400 |  | 9600 | 4600 |  | 18400
836 | 1 | TN | Pipe Fittings, all sizes and types |  |  |  | 1800 |  | 1800 | 7000 |  | 7000
841 | 2 | EA | Hydrostatic Testing |  |  |  | 3600 |  | 7200 | 2800 |  | 5600
844 | 2 | EA | 2" Blowoff, Temporary |  |  |  | 2050 |  | 4100 | 2700 |  | 5400
848 | 222 | LF | 8" PVC sanitary Sewer Line (0' - 6') |  |  |  | 40 |  | 8880 | 80 |  | 17760
852.1 | 2 | EA | Sanitary Sewer manhole (0' - 6') |  |  |  | 2800 |  | 5600 | 5500 |  | 11000
852.3 | 3 | VF | Extra Depth Manhole (>6') |  |  |  | 300 |  | 900 | 800 |  | 2400
854 | 17 | LF | 4" Sanitary Sewer Drain Laterals |  |  |  | 36 |  | 612 | 55 |  | 935
858 | 3 | CY | Concrete Encasement |  |  |  | 180 |  | 540 | 350 |  | 1050
866 | 222 | LF | Sewer Main Television Inspection |  |  |  | 4 |  | 888 | 2.9 |  | 643.8
104.1 | 380 | CY | Street Excavation |  |  |  | 10 |  | 3800 | 22 |  | 8360
107.1 | 250 | CY | Embankment (TY D) |  |  |  | 10 |  | 2500 | 35 |  | 8750
200.1 | 1671 | SY | Flexible Base (12" Compacted Depth) |  |  |  | 15 |  | 25065 | 28 |  | 46788
204.1 | 1671 | SY | One Course Surface Treatment |  |  |  | 1.8 |  | 3007.8 | 10 |  | 16710
307.1 | 42 | CY | Concrete Structure (Odor Control Structure) |  |  |  | 900 |  | 37800 | 742 |  | 31164
500.1 | 187 | LF | Concrete Curbing |  |  |  | 16 |  | 2992 | 15 |  | 2805
503.2 | 118 | SY | Concrete Driveways - Commercial |  |  |  | 88 |  | 10384 | 60 |  | 7080
505.1 | 27 | SY | Concrete Riprap (6" Thick) |  |  |  | 75 |  | 2025 | 60 |  | 1620
520.1 | 124 | SY | Hydromulching |  |  |  | 1 |  | 124 | 9 |  | 1116
522.1 | 22 | LF | Sidewalk Pipe Railing |  |  |  | 30 |  | 660 | 133 |  | 2926
537.8 | 18 | EA | Traffic Button (Type II A-A) |  |  |  | 4 |  | 72 | 22 |  | 396
554.1 | 1920 | SY | Geogrid |  |  |  | 5 |  | 9600 | 6 |  | 11520
3 | 3 | EA | Lighting |  |  |  | 4120 |  | 12360 | 5500 |  | 16500
4 | 1 | LS | Ductwork / Wiring |  |  |  | 29502 |  | 29502 | 60000 |  | 60000
5 | 1 | EA | SCADA Mast & Lighting |  |  |  | 1280 |  | 1280 | 2600 |  | 2600
6 | 1 | EA | SCADA Panel |  |  |  | 67750 |  | 67750 | 32300 |  | 32300
7 | 1 | LS | Testing / Startup |  |  |  | 1100 |  | 1100 | 2000 |  | 2000
8 | 1 | LS | New Rack Structure |  |  |  | 9845 |  | 9845 | 8800 |  | 8800
9 | 1 | LS | Grounding |  |  |  | 700 |  | 700 | 2000 |  | 2000
10 | 1 | LS | Power Panel |  |  |  | 2600 |  | 2600 | 4300 |  | 4300
11 | 1 | LS | Pump Control Panel |  |  |  | 2595 |  | 2595 | 3700 |  | 3700
12 | 1 | LS | Level Control Panel (Including Level Transducer) |  |  |  | 3100 |  | 3100 | 8900 |  | 8900
| SUB-TOTAL BASE BID AMOUNT | [7 empty] | 344276.8 |  |  | 448210.8
100 | 1 | LS | Mobilization |  |  |  | 5000 | 1.452% | 5000 | 43000 | 9.594% | 43000
101 | 1 | LS | Preparing R.O.W |  |  |  | 5000 | 1.452% | 5000 | 17770 | 3.965% | 17770
[9 empty] | 10000 |  |  | 60770
| Total Bid Amount including Addendum #1, 2 & 3 | [7 empty] | 354276.8 |  |  | 508980.8
CALENDAR DAYS TO COMPLETE | [5 empty] | 150 |  |  | 150 |  |  | 150
[6 empty] | [1] |  |  | [2] |  |  | [3]