## Bidtab
Prepared by gc |  |  |  | Austin Constructors, LLC 7907 S FM 973 Austin, TX 78719 |  | Bartek Construction 5221 Port Entry San Antonio, Tx 78222 |  | Nerie Construction LLC 1506 E Broadway, #205 Pearland, TX 77581 |  | D Guerra Construction LLC 9810 FM 969 Austin, Tx 78724 |  | EZ Bell Construction, LLC 203 Recoleta San Antonio, TX 78216 |  | Pronto Sandblasting & Coating & Oil Field Services Co., Inc. 9456 South Presa San Antonio, TX 78223
Solicitation No.: CD-B-14-073-MF
Contract No.: CD-C-14-xxx-MF
SAN ANTONIO WATER SYSTEM
P. O. BOX 2449
SAN ANTONIO, TEXAS 78298-2449
TABULATION OF BIDS
PROPOSAL: |  | 2015 Sanitary Sewer Laterals Renewal and
Repair Construction Contract, Package 1
Job Nos. 15-0101 (O&M) and 15-1402 (CIP)
TIME & |  | 10:00 A.M.
DATE: |  | 2014-12-03
Item No. | Estimate Qty | Unit of Issue | Description | Unit Price | Total | Unit Price | Total | Unit Price | Total | Unit Price | Total | Unit Price | Total | Unit Price | Total
103.1 | 200 | LF | Remove Concrete Curb | 2 | 400 | 5 | 1000 | 2 | 400 | 2 | 400 | 2 | 400 | 5 | 1000
103.3 | 250 | SY | Remove Sidewalks and Driveways | 4 | 1000 | 5 | 1250 | 5 | 1250 | 5 | 1250 | 15 | 3750 | 30 | 7500
200 | 25 | CY | Flexible Base (Complete in place) | 50 | 1250 | 100 | 2500 | 15 | 375 | 5 | 125 | 30 | 750 | 40 | 1000
203 | 25 | GAL | Tack Coat | 20 | 500 | 13 | 325 | 10 | 250 | 10 | 250 | 10 | 250 | 10 | 250
205.4 | 750 | SY | Hot Mix Asphalt Concrete Type “D”, Two (2) Inch Thickness | 20 | 15000 | 56 | 42000 | 125 | 93750 | 125 | 93750 | 145 | 108750 | 120 | 90000
208 | 50 | CY | Salvage, Haul, Stockpile Asphalt Concrete Pavement | 5 | 250 | 32 | 1600 | 5 | 250 | 5 | 250 | 50 | 2500 | 500 | 25000
500.1 | 200 | LF | Concrete Curbing | 15 | 3000 | 39 | 7800 | 35 | 7000 | 35 | 7000 | 50 | 10000 | 20 | 4000
500.3 | 10 | LF | Concrete Gutter | 15 | 150 | 39 | 390 | 40 | 400 | 40 | 400 | 50 | 500 | 50 | 500
502.1 | 200 | SY | Concrete Sidewalks | 50 | 10000 | 84 | 16800 | 50 | 10000 | 45 | 9000 | 70 | 14000 | 70 | 14000
503.1 | 50 | SY | Concrete Driveways | 75 | 3750 | 86 | 4300 | 80 | 4000 | 65 | 3250 | 70 | 3500 | 80 | 4000
503.2 | 45 | SY | Commercial Driveways | 100 | 4500 | 95 | 4275 | 90 | 4050 | 70 | 3150 | 100 | 4500 | 90 | 4050
508 | 100 | LF | Relocate Fence | 20 | 2000 | 6 | 600 | 5 | 500 | 5 | 500 | 7.5 | 750 | 10 | 1000
511.3.1 | 40 | SY | Cutting and replacing pavements (10” ATB & 3” HMAC) | 120 | 4800 | 230 | 9200 | 100 | 4000 | 75 | 3000 | 105 | 4200 | 180 | 7200
511.3.2 | 40 | SY | Cutting and replacing pavements (6” ATB & 2” HMAC) | 100 | 4000 | 225 | 9000 | 85 | 3400 | 70 | 2800 | 90 | 3600 | 140 | 5600
515 | 60 | CY | Top Soil | 45 | 2700 | 28 | 1680 | 20 | 1200 | 20 | 1200 | 30 | 1800 | 25 | 1500
516.1 | 50 | SY | Bermuda Sodding | 10 | 500 | 10 | 500 | 10 | 500 | 10 | 500 | 10 | 500 | 10 | 500
516.2 | 250 | SY | St. Augustine Sodding | 10 | 2500 | 10 | 2500 | 35 | 8750 | 35 | 8750 | 20 | 5000 | 10 | 2500
530 | 50 | EA | Barricades, Signs and Traffic Handling | 800 | 40000 | 900 | 45000 | 1000 | 50000 | 1250 | 62500 | 2000 | 100000 | 10000 | 500000
540.9 | 100 | LF | Temporary Sediment Control Fence | 10 | 1000 | 2 | 200 | 2 | 200 | 1 | 100 | 3.5 | 350 | 5 | 500
550 | 2000 | LF | Trench Excavation Safety Protection | 10 | 20000 | 3 | 6000 | 1 | 2000 | 1 | 2000 | 10 | 20000 | 1 | 2000
805.1 | 40 | HR | Police Officer | 50 | 2000 | 35 | 1400 | 50 | 2000 | 55 | 2200 | 45 | 1800 | 40 | 1600
854 | 2000 | LF | Renew Sanitary Sewer Laterals | 100 | 200000 | 150 | 300000 | 110 | 220000 | 175 | 350000 | 270 | 540000 | 70 | 140000
854.1 | 60 | EA | Install One Way Sanitary Sewer Clean-out | 300 | 18000 | 700 | 42000 | 800 | 48000 | 350 | 21000 | 490 | 29400 | 650 | 39000
854.2 | 10 | EA | Install Backwater Valve Assembly | 500 | 5000 | 1300 | 13000 | 600 | 6000 | 500 | 5000 | 1600 | 16000 | 2500 | 25000
1103.1 | 100 | LF | Extra Length Point Repair, 8” or 10” pipe diameter, all depths | 90 | 9000 | 32 | 3200 | 50 | 5000 | 50 | 5000 | 60 | 6000 | 120 | 12000
1103.2 | 20 | LF | Extra Length Point Repair, 12” or 15” pipe diameter, all depths | 100 | 2000 | 54 | 1080 | 75 | 1500 | 55 | 1100 | 80 | 1600 | 140 | 2800
1103.3 | 10 | LF | Extra Length Point Repair, 18” or 21” pipe diameter, all depths | 120 | 1200 | 80 | 800 | 160 | 1600 | 60 | 600 | 110 | 1100 | 250 | 2500
1103.4 | 10 | LF | Extra Length Point Repair, 24” pipe diameter, all depths | 130 | 1300 | 84 | 840 | 200 | 2000 | 65 | 650 | 220 | 2200 | 350 | 3500
1103.5 | 10 | EA | Lateral Point Repair | 4500 | 45000 | 520 | 5200 | 1000 | 10000 | 500 | 5000 | 2200 | 22000 | 3000 | 30000
1109.1 | 60 | EA | Lateral Connection, 8” or 10” pipe diameter, all depths | 2500 | 150000 | 570 | 34200 | 1200 | 72000 | 700 | 42000 | 1000 | 60000 | 3500 | 210000
1109.2 | 8 | EA | Lateral Connection, 12” or 15” pipe diameter, all depths | 3000 | 24000 | 750 | 6000 | 1200 | 9600 | 725 | 5800 | 1500 | 12000 | 4500 | 36000
1109.3 | 2 | EA | Lateral Connection, 18” or 21” pipe diameter, all depths | 3500 | 7000 | 2100 | 4200 | 2000 | 4000 | 750 | 1500 | 3500 | 7000 | 5000 | 10000
1109.4 | 2 | EA | Lateral Connection, 24” pipe diameter, all depths | 4000 | 8000 | 2200 | 4400 | 2000 | 4000 | 1000 | 2000 | 5500 | 11000 | 7000 | 14000
4438 | 600 | CY | Flowable Backfill (TxDOT Spec) | 100 | 60000 | 150 | 90000 | 190 | 114000 | 185 | 111000 | 150 | 90000 | 140 | 84000
TOTAL BID AMOUNT |  |  |  |  | 649800 |  | 663240 |  | 691975 |  | 753025 |  | 1085200 |  | 1282500
CALENDAR DAYS TO COMPLETE |  |  |  |  | 365 |  | 365 |  | 365 |  | 365 |  | 365 |  | 365
[5 empty] | [1] |  | [2] |  | [3] |  | [4] |  | [5] |  | [6]

## Sheet1
Prepared by Joe |  |  |  | Pesado Construction Company, Inc. 7054 Pipestones Schertz, Texas 78154 |  |  | Quest Civil Constructors Texas, LLC 11824 Jollyville Road, Bldg 1, Suite 103 Austin, Texas 78759 |  |  | Holloman Corporation 13730 IH 10 East Converse, Texas 78109 |  |  | Pepper-Lawson Waterworks, LLC 4555 Katy Hockley Cut-Off Road Katy, Texas 77493 |  |  | S. J. Louis Construction of Texas, LTD. 9862 Lorene, Suite 200 San Antonio, Texas 78216
Solicitation No.: | B-11-050-MF | Contract No.: C-12-008-MF
SAN ANTONIO WATER SYSTEM
P. O. BOX 2449
SAN ANTONIO, TEXAS 78298-2449
TABULATION OF BIDS
PROPOSAL: |  | Leon Creek WRC Interconnection to the Southwest
Bexar Sewer Pipeline Project
Job # 10-6501
TIME & |  | 10:00 A.M.
DATE: |  | 2012-01-30
Item No. | Estimate Qty | Unit of Issue | Description | Unit Price |  |  | Unit Price |  | Total | Unit Price |  | Total | Unit Price |  | Total | Unit Price
SAWS Job No 10-6501
1 | 1 | LS | Erosion & Sedimentation Control | 90000 | Percentage | 90000 | 40000 | Percentage | 40000 | 427700 | Percentage | 427700 | 20500 | Percentage | 20500 | 20000 | Percentage | 20000
2 | 9800 | LF | Trench Excavation Safety Protection | 3 |  | 29400 | 2 |  | 19600 | 1 |  | 9800 | 1 |  | 9800 | 0.01 |  | 98
3 | 90000 | SY | Revegetation | 1 |  | 90000 | 0.3 |  | 27000 | 1 |  | 90000 | 0.5 |  | 45000 | 0.3 |  | 27000
4 | 8650 | LF | 60" FRP Wastewater Line (all depths) | 350 |  | 3027500 | 288 |  | 2491200 | 313 |  | 2707450 | 316 |  | 2733400 | 353 |  | 3053450
5 | 200 | LF | 54" FRP Wastewater Line (all depths) | 300 |  | 60000 | 285 |  | 57000 | 260 |  | 52000 | 580 |  | 116000 | 224 |  | 44800
6 | 100 | LF | 42" FRP Wastewater Line (all depths) | 260 |  | 26000 | 220 |  | 22000 | 812 |  | 81200 | 500 |  | 50000 | 153 |  | 15300
7 | 850 | LF | 27" FRP or PVC Wastewater Line (all depths) | 200 |  | 170000 | 130 |  | 110500 | 124 |  | 105400 | 260 |  | 221000 | 115 |  | 97750
8 | 14 | EA | 60" FRP Tee Base Manhole | 18000 |  | 252000 | 22000 |  | 308000 | 27300 |  | 382200 | 21000 |  | 294000 | 26600 |  | 372400
9 | 1 | EA | 60" FRP Tee Base Manhole, w/27" FRP Stub-out | 20000 |  | 20000 | 23000 |  | 23000 | 30300 |  | 30300 | 43000 |  | 43000 | 32900 |  | 32900
10 | 1 | EA | 60" FRP Tee Base Manhole, w/42" FRP Stub-out | 22000 |  | 22000 | 20000 |  | 20000 | 28300 |  | 28300 | 32000 |  | 32000 | 32900 |  | 32900
11 | 80 | VF | Tee Base MH, 60" Riser Extra Depth (>15') | 145 |  | 11600 | 50 |  | 4000 | 885 |  | 70800 | 1230 |  | 98400 | 1 |  | 80
12 | 2 | EA | Vented Drop Manholes (MH Nos. 17 & 18) | 50000 |  | 100000 | 75000 |  | 150000 | 74500 |  | 149000 | 123000 |  | 246000 | 58000 |  | 116000
13 | 165 | LF | Boring or Tunneling (60" DIA. FRP) | 1000 |  | 165000 | 700 |  | 115500 | 1133 |  | 186945 | 995 |  | 164175 | 872 |  | 143880
14 | 168 | LF | Boring or Tunneling (54" DIA. FRP) | 975 |  | 163800 | 700 |  | 117600 | 1046 |  | 175728 | 940 |  | 157920 | 825 |  | 138600
15 | 88 | LF | Boring or Tunneling (27" DIA. FRP or PVC) | 900 |  | 79200 | 400 |  | 35200 | 575 |  | 50600 | 865 |  | 76120 | 560 |  | 49280
16 | 165 | LF | Carrier Pipe Installed in Steel Casing or Tunnel Liner Plate (60" DIA FRP) | 220 |  | 36300 | 360 |  | 59400 | 421 |  | 69465 | 430 |  | 70950 | 275 |  | 45375
17 | 168 | LF | Carrier Pipe Installed in Steel Casing or Tunnel Liner Plate (54" DIA FRP) | 200 |  | 33600 | 350 |  | 58800 | 389 |  | 65352 | 390 |  | 65520 | 255 |  | 42840
18 | 88 | LF | Carrier Pipe Installed in Steel Casing or Tunnel Liner Plate (27" DIA FRP or PVC) | 80 |  | 7040 | 150 |  | 13200 | 231 |  | 20328 | 200 |  | 17600 | 158 |  | 13904
19 | 1 | LS | Comanche Creek Aerial Crossing Abutments (Cradle and Headwall), Carrier Pipe (60" Dia. FRP), Steel Casing (72" Dia.), Spacers and Polyurethane Grout, Channel Grading, Armoring and Reinforcement (to include testing and design) | 200000 |  | 200000 | 410000 |  | 410000 | 221000 |  | 221000 | 386425 |  | 386425 | 455000 |  | 455000
20 | 120 | VF | Comanche Creek Aerial Crossing 60" Piers | 350 |  | 42000 | 450 |  | 54000 | 579 |  | 69480 | 600 |  | 72000 | 347 |  | 41640
21 | 1 | LS | Verano Lift Station No. 5 Elimination/Abandonment | 18000 |  | 18000 | 81000 |  | 81000 | 19300 |  | 19300 | 25000 |  | 25000 | 35000 |  | 35000
22 | 1 | LS | Connection to SBSP Segment 2 | 20000 |  | 20000 | 2000 |  | 2000 | 9200 |  | 9200 | 61500 |  | 61500 | 15000 |  | 15000
23 | 1 | LS | Leon Creek WRC FEB Drainline Junction Structure, Leon Creek WRC Interconnect Flow Meter Vault Structure, Leon Creek WRC FEB Diversion Structure, Leon Creek WRC FEB Headworks Screening Improvements, Leon Creek WRC Primary Clarifier Flow Meter Vaults No. 1 and No. 2, Leon Creek WRC Heater House # 2 Demolition, Leon Creek WRC Sulfur Dioxide System Improvements, Remove and Replace Existing Asphalt Pavement, and Concrete Encasement. | 2500000 |  | 2500000 | 3741967 |  | 3741967 | 2989200 |  | 2989200 | 3187019 |  | 3187019 | 3782000 |  | 3782000
24 | 1 | LS | Tree Protection | 10000 |  | 10000 | 2000 |  | 2000 | 6000 |  | 6000 | 5400 |  | 5400 | 7500 |  | 7500
25 | 10221 | LF | Gravity Sewer and MH Testing | 4 |  | 40884 | 2 |  | 20442 | 2 |  | 20442 | 1 |  | 10221 | 1 |  | 10221
26 | 1 | LS | Subsurface Utility Investigation | 5000 |  | 5000 | 5000 |  | 5000 | 9000 |  | 9000 | 35350 |  | 35350 | 7500 |  | 7500
27 | 1 | Allowance | CPS Power Pole Stabilization and Line Protection - Allowance for CPS fees associated with the temporary support of poles, adjustment/replacement of guy wire and protection of crossed wires. This shall include furnishing all labor, materials, and incidentals required to coordinate with CPS. Contractor to pay and be reimbursed actual amount by SAWS. | 36000 |  | 36000 | 36000 |  | 36000 | 36000 |  | 36000 | 36000 |  | 36000 | 36000 |  | 36000
28 | 1 | Allowance | Permitting Fees - Allowance for permitting fees associated with the project. This shall include furnishing all labor, materials, and incidentals required to obtain all necessary permits. Contractor to pay and be reimbursed actual amount by SAWS. | 10000 |  | 10000 | 10000 |  | 10000 | 10000 |  | 10000 | 10000 |  | 10000 | 10000 |  | 10000
| SUBTOTAL BASE BID AMOUNT |  |  |  |  | 7265324 |  |  | 8034409 |  |  | 8092190 |  |  | 8290300 |  |  | 8646418
29 | 1 | LS | Mobilization and Demobilization: this item includes project move-in and move-out of personnel and equipment, for work shall include furnishing all labor, materials, tools, equipment and incidentals required to mobilize, demobilized, bond and insure the Work for the Leon Creek WRC Interconnection to the SBSP Project, in accordance with the contract documents, complete in place. | 233000 | 3.207% | 233000 | 375000 | 4.667% | 375000 | 540200 | 5% | 404609.5 | 425000 | 5% | 414515 | 432320.9 | 5% | 432320.9
[6 empty] | 233000 |  |  | 375000 |  |  | 404609.5 |  |  | 414515 |  |  | 432320.9
| TOTAL BID AMOUNT INCLUDING ADDENDUM # 1, 2 & 3 |  |  |  |  | 7498324 |  |  | 8409409 |  |  | 8496799.5 |  |  | 8704815 |  |  | 9078738.9
CALENDAR DAYS TO COMPLETE | [5 empty] | 400 |  |  | 400 |  |  | 400 |  |  | 400 |  |  | 400
[6 empty] | [1] |  |  | [2] |  |  | [3] |  |  | [4] |  |  | [5]
Note on I44: joehernandez: Mobilization percentage actual was 5.06. reduced to 4.8 per bid proposal written percentage.
Note on O44: joehernandez: Mobilization percentage actual exceeded 5 percent maximum. Adjusted to meet the 5 percent.
Note on L44: joehernandez: Mobilization percentage actual exceeded 5 percent maximum. Adjusted to meet the 5 percent.