## Quotes
HARDY OAK BLVD, SONTERRA BLVD, AND POTRANCO RD PRESSURE ZONE INTERCONNECTIONS IFB SOLICITATION NUMBER: CO-00288 BID ITEMS LIST
Item No. | Item Description | Unit | Qty | Unit Bid Price | Extended Price
1 | EMBANKMENT (COSA) | CY | 27 |  |  | 38058
2 | STRUCTURAL CONCRETE VAULT AND PADS (INCLUDING EXC.) | LS | 1 |  |  | 38059
3 | TOPSOIL (COSA) | CY | 30 |  |  | 38060
4 | HYDROMULCHING (COSA) | SY | 360 |  |  | 38061
5 | BARRICADES, SIGNS, AND TRAFFIC HANDLING | LS | 1 |  |  | 38062
6 | SW3P (EROSION & SEDIMENT CONTROL EFFORT) | LS | 1 |  |  | 38063
7 | TEMPORARY SEDIMENT CONTROL FENCE (COSA) | LF | 120 |  |  | 38064
8 | TRENCH EXCAVATION SAFETY PROTECTION | LF | 50 |  |  | 38065
9 | LEVEL IIB PROTECTIVE FENCING (COSA) | LF | 10 |  |  | 38066
10 | 8" DI PIPE (CLASS 200) | LF | 50 |  |  | 38067
11 | 8" GATE VALVES | EA | 2 |  |  | 38627
12 | PIPE FITTINGS, ALL SIZES AND TYPES | TN | 1 |  |  | 38068
13 | HYDROSTATIC TESTING | EA | 1 |  |  | 38069
14 | 4" PRV VALVE COMPLETE | EA | 1 |  |  | 38071
15 | 8" PRV VALVE COMPLETE | EA | 1 |  |  | 38072
16 | VAULT ACCESSORIES COMPLETE (INCLUDES FLOWMETER, GAGES, BLOW-OFFS, PIPING, FITTINGS, SUMP PUMP, LADDERS, HATCHES, ETC.)) | LS | 1 |  |  | 38073
17 | ELECTRICAL AND SCADA ACCESSORIES COMPLETE | LS | 1 |  |  | 38074
18 | STRUCTURAL CONCRETE VAULT AND PADS (INCLUDING EXC.) | LS | 1 |  |  | 38075
19 | TOPSOIL (COSA) | CY | 40 |  |  | 38076
20 | SODDING (COSA) | SY | 360 |  |  | 38077
21 | BARRICADES, SIGNS, AND TRAFFIC HANDLING | LS | 1 |  |  | 38078
22 | SW3P (EROSION & SEDIMENT CONTROL EFFORT) | LS | 1 |  |  | 38079
23 | TEMPORARY SEDIMENT CONTROL FENCE (COSA) | LF | 60 |  |  | 38080
24 | TRENCH EXCAVATION SAFETY PROTECTION | LF | 55 |  |  | 38081
25 | REMOVING AND RELOCATING IRRIGATION SYSTEM (COSA) | LF | 100 |  |  | 38082
26 | LEVEL IIB PROTECTIVE FENCING (COSA) | LF | 18 |  |  | 38083
27 | 8" DI PIPE (CLASS 200) | LF | 55 |  |  | 38084
28 | 8" GATE VALVES | EA | 2 |  |  | 38628
29 | PIPE FITTINGS, ALL SIZES AND TYPES | TN | 1 |  |  | 38085
30 | HYDROSTATIC TESTING | EA | 1 |  |  | 38086
31 | 4" PRV VALVE COMPLETE | EA | 1 |  |  | 38088
32 | 8" PRV VALVE COMPLETE | EA | 1 |  |  | 38089
33 | VAULT ACCESSORIES COMPLETE (INCLUDES FLOWMETER, GAGES, BLOW-OFFS, PIPING, FITTINGS, SUMP PUMP, LADDERS, HATCHES, ETC.)) | LS | 1 |  |  | 38090
34 | ELECTRICAL AND SCADA ACCESSORIES COMPLETE | LS | 1 |  |  | 38091
35 | SW3P (Erosion & Sediment Control Effort) | LS | 1 |  |  | 38402
36 | TEMPORARY SEDIMENT CONTROL FENCE (COSA) | LF | 100 |  |  | 38092
37 | TRENCH EXCAVATION SAFETY PROTECTION | LF | 72 |  |  | 38093
38 | 12" DUCTILE IRON PIPE | LF | 72 |  |  | 38094
39 | 12" GATE VALVES | EA | 4 |  |  | 38095
40 | 12" DIVISION VALVES | EA | 1 |  |  | 38096
41 | 12" X 12" CUT-IN-TEE | EA | 2 |  |  | 38097
42 | PIPE FITTINGS, ALL SIZES AND TYPES | TN | 0.5 |  |  | 38098
43 | HYDROSTATIC TESTING | EA | 1 |  |  | 38099
44 | 2" BLOWOFF, TEMPORARY | EA | 2 |  |  | 38100
45 | 1" AIR RELEASE ASSEMBLIES | EA | 2 |  |  | 38101
46 | JACKING, BORING, OR TUNNELING 24" | LF | 109 |  |  | 38102
47 | 12" CARRIER PIPE FOR JACKING, BORING, TUNNELING | LF | 109 |  |  | 38103
48 | STEEL CASING 24" | LF | 109 |  |  | 38104
49 | FLOWABLE FILL | CY | 82 |  |  | 38105
50 | REMOVAL, TRANSPORTATION, AND DISPOSAL OF AC PIPE | LF | 26 |  |  | 38106
51 | MOBILIZATION AND DEMOBILIZATION (MAX 10% OF LINE ITEMS 1-50) | LS | 1 |  |  | 38108
52 | PREPARATION OF RIGHT-OF-WAY (MAX 5% OF LINE ITEMS 1-50) | LS | 1 |  |  | 38109
53 | INTERMEDIATE DEMOBILIZATION AND REMOBILIZATION | EA | 2 |  |  | 38626
TOTAL BID PRICE:
BIDDING FIRM NAME: