## Sheet1
UPDATED GENERATOR LIST TO DATE 05/19/17
| UNIT ID # | Facility | MANUFACTURER | MODEL | SERIAL NO. | Address | KVA | kW | Tank/gal | Cost | Serial # | Manufactured Date | Comments | Replacement Date (+ -) 5yrs
1 | SC01ELGEN01 | SALADO CREEK HEADWORKS EMERGENCY GENERATOR |  | NTA-855-G2 | C900303054 | 13496 BLUE WING ROAD | 375 | 281.25 | 250 |  | Cummins 335HC4AL-2A | !997 | Unit is older and in corosive envir. "g" | 2020
2 | MC201ELGEN03 | MEDIO CREEK EXPANSION EMERGENCY GENERATOR |  | 744RSL4054 | WA-558595-0507 | 2231 Hunt Lane | 2500 | 1875 | 3500 | Estimates | Kato light 174755-0308 | 2010 | Newer unit "A+" | 2030
3 | MC01ELGEN02 | MEDIO BACK UP GENERATOR |  | 3412 |  | 2231 Hunt Lane | 693 | 520 | 500 |  | Cat 5NA021387 | 1990 | Unit sits in garage type bldg. " G" | 2025
4 | MC07ELGEN04 | MEDIO DISINFECTION BACK UP GENERATOR |  | 96A01180-S | 2026273 | 2231 Hunt Lane | 156.2 | 117.15 | 500 |  | Generac 2026273 | 1999 | Sits at UV area "G" | 2024
5 | MCFCGEN01 | MEDIO TOWER EMERGENCY GENERATOR |  | 3982270200 | 2076684 | 2231 Hunt Lane | 25 | 18.75 | 200 |  | Generac 2076684 | 2008 | a propane unit "A" | 2027
6 | DR02ELGEN02 | DOS RIOS PRIMARY AREA EMERGENCY GENERATOR #1 |  | LSA 50 MA | 153883/1 | 3495 Valley Rd | 762 | 571.5 | 500 |  | Cat 81206237 | 1986 | REPLACE "R" | 2018
7 | DR02ELGEN03 | DOS RIOS PRIMARY AREA EMERGENCY GENERATOR #2 |  | LSA 50 MA | 81Z06237 | 3495 Valley Rd | 762 | 571.5 | 500 |  | Cat 8120638 | 1986 | REPLACE "R" | 2018
8 | DR07ELGEN05 | DOS RIOS CHLORINE GENERATORS # 1 |  | MD-SR4 | 81Z05523 | 3495 Valley Rd | 625 | 468.75 | 450 |  | Cat 81205508 | 1986 | running need fuel delivery system upgrade | 2025
9 | DR07ELGEN06 | DOS RIOS CHLORINE GENERATORS #2 |  | MD-SR4 | 81Z0558 | 3495 Valley Rd | 500 | 375 | 450 |  | Cat 81205586 | 1986 | running need fuel delivery system upgrade | 2025
10 | DR012ELGEN10 | DOS RIOS ENVIRONMENTAL LAB EMERGENCY GENERATOR |  | 6163100200 | 2086800 | 3610 Valley Rd | 288 | 216 | 183 |  | Generac 2086800 | 2007 | Newer unit "A" | 2030
11 | DR10ELGEN08 | DOS RIOS BELT PRESS EMERGENCY GENERATOR |  | 95A00392-S | 2018291 | 3495 Valley Rd | 250 | 187.5 | 300 |  | Cat 81209573 | 1999 | Fair "g" | 2022
12 | DR03ELGEN04 | DOS RIOS CMS EMERGENCY GENERATOR |  | 40.0 DL6T-15B/14A | G870907108 | 3495 Valley Rd | 50 | 37.5 | 50 |  | Cummins E873213629 | 1987 | REPLACE "R" | 2018
13 | DR05ELGEN07 | DOS RIOS PROCESS AIR COMPRESSORS BUILDING GENERATOR |  | 91A03492-S/SR4 | 2000812 | 3495 Valley Rd | 25 | 18.75 | 15 |  | Generac 5D020-k364 | 2001 | REPLACE "R" | 2018
14 | DR01ELGEN01 | DOS RIOS EQ AREA EMERGENCY GENERATOR |  | 3412OT / SR4 | 5NA06872 | 3495 Valley Rd 78221 | 500 | 500 | 300 |  | Cat 81209463 | 1993 | Fair "g" | 2020
15 | LC01ELGEN01 | LEON CREEK EQ EMERGENCY GENERATOR |  | CC43E | K890280958 | 1104 MAUERMAN RD. | 375 | 281.25 | 275 |  | Cummins K19524-9/18-02 | 2002 | Good shape "G" | 2030
16 | LC07ELGEN04 | LEON CREEK CL2 / SO2 AREA STANDBY GENERATOR #2 |  | SR4 | 5WF00582 | 1104 MAUERMAN RD. | 187.5 | 250 | 225 |  | Generac 2100703 | 2008 | Fair "g" | 2025
17 | LC07ELGEN03 | LEON CREEK CL2 / SO2 AREA STANDBY GENERATOR #1 |  | SR4 | 5WF00583 | 1104 MAUERMAN RD. | 250 | 187.5 | 225 |  | Cat 5WF00583 | 1998 | Fair "g" | 2025
18 | LC01ELGEN02 | LEON CREEK HEADWORKS EMERGENCY GENERATOR |  |  | 2266424 | 1104 MAUERMAN RD. | 169 | 126.75 | 100 |  | Kohler 2262775 | 2009 | Moved unit from Cagnon "A" | 2032
19 | LC12ELGEN05 | LEON CREEK ADMIN AREA EMERGENCY STANDBY GENERATOR |  |  |  | 1104 MAUERMAN RD. | out | out | out |  |  |  | Replace "R" | 2018
20 | TW06GEN901 | TWIN OAKS CHEMICAL BUILDING EMERGENCY GENERATOR |  | 3182830200 | 2072312 | 4588 HARDY ROAD | 125 | 93.75 | 130 |  | Generac 2072312 | 2005 | Good shape "A" | 2033
21 | TWFCGEN902 | TWIN OAKS ANTENA GENERATOR |  | 95A00854-S | 2018967 | 4588 HARDY ROAD | 50 | 37.5 | 50 |  | Generac 2018967 | 2001 | Great shape "A+" | 2040
22 | BGD05GEN901 | DESAL GEN |  | 750S | 54950/000010 | 4588 Hardy Road | 938 | 750 | 2074 |  | Cat C27-T2 | 2016 | New unit "A+"
23 | TW01GEN901 | TWIN OAKS GUARD HOUSE ELECTRICAL GENERATOR |  | DKAF - 5867860 | G070078120 | 4588 HARDY ROAD | 31.2 | 23.4 | 90 |  | Cummins G070078120 | 2007 | Good shape "A" | 2031
24 | LS172GEN01 | ACEQUIA PARK LIFT STATION GENERATOR |  | 500DFFB | E940542962 | 8510 MISSION PARKWAY | 625 | 468.75 | 500 |  | Cummins E940542962 | 1994 | Fair "g" | 2020
25 | LS235GEN01 | FOSSIL RIDGE LIFT STATION GENERATOR |  | DFED 5585720 | L020450265 | 4615 E EVANS RD - FOSSIL RIDGE | 625 | 468.75 | 450 |  | Cummins L020450265 | 2002 | Good shape "G" | 2027
26 | LS265GEN01 | VILLAGES OF BULVERDE LIFT STATION GENERATOR |  | C4.4 | F3A00516 | 24514 INVITATION OAK | 533.3333 | 400 | 200 |  | Cat 00C44ENCE00688 | 2006 | Good shape "G" | 2028
27 | LS258GEN01 | ALAMO RANCH LIFT STATION GENERATOR |  | LC6 | G6B01613 | 11860 THOROUGHBREAD TRAIL - AL | 500 | 375 | 500 |  | Cat GGB01613 | 2002 | Good shape "G" | 2029
28 | LS273GEN01 | BITTER BLUE LIFT STATION GENERATOR |  |  | 451-D2 | 28194 BULVERDE | 400 | 300 | 500 |  | Generac 2101261 | 2011 | Great shape "A+" | 2033
29 | LS238GEN01 | FREEDOM ELEMENTARY LIFT STATION GENERATOR |  | 300REOZV | 0766952 | 3845 S LOOP 1604 E - FREEDOM E | 375 | 281.25 | 300 |  | Kohler 0766952 | 2003 | Good shape "g" | 2022
30 | LS191GEN01 | MUDD CREEK LIFT STATION EMERGENCY GENERATOR |  | 10328450100 | 2100703 | 20505 HWY. 281 N. | 344 | 258 | 200 |  | Generac 2100703
31 | LS249GEN01 | CIBOLO CANYON LIFT STATION GENERATOR |  | 3967990100 | 2076666 | 22700 BULVERDE RD. | 313 | 234.75 | 196 |  | Generac 2076666 | 2002 | Good shape "G" | 2027
32 | LS251GEN01 | SOLANA RIDGE LIFT STATION GENERATOR |  | D200P4 | OLY00000ANNS01141 | 7622 COVEL RD. | 250 | 187.5 | 100 |  | Olympian oly0000ANNS | 2011 | Great shape "A" | 2031
33 | LS187GEN01 | NEAR WEST LIFT STATION GENERATOR |  | 180REOZJD | 2266493 | 9520 KRIEWALD RD - NEAR WEST | 225 | 168.75 |  |  | Kohler 2266493 | 2009 | Great shape "A" | 2033
35 | LS246GEN01 | SAN ANTONIO RANCH LIFT STATION GENERATOR |  | 440FDR7111JJW | 30128155 | 16596 BANDERA RD - SAN ANTONIO | 210 | 157.5 | 150 |  | Marathon sk19524129 | 2002 | Good shape "G" | 2027
36 | LS221GEN01 | HERITAGE ELEMENTARY LIFT STATION GENERATOR |  | 150REOZJB | 07655826 | 3223 S LOOP 1604 E - HERITAGE | 200 | 150 | 150 |  | Kohler 0765826 | 2003 | Fair "g" | 2021
37 | LS016GEN01 | PRESTWICK LIFT STATION GENERATOR |  | 150DGFA | J980817240 | 5106 FERRINGTON - FERRINGTON | 200 | 150 | 150 |  | Cummins J980817240 | 1998 | Good shape "g" | 2022
38 | LS201GEN01 | HIGHWAY 90 W. LIFT STATION GENERATOR |  | DFED5585720 | 2266426 | 10102 US HWY 90 W - HWY 90 W | 194 | 145.5 | 190 |  | Kohler 2266426 | 2009 | Great shape "A" | 2030
39 | LS250GEN01 | TOYOTA NORTH LIFT STATION GENERATOR |  | 4760090100 | 2081056 | 15203 APPLEWHITE RD - TOYOTA N | 188 | 141 | natural gas |  | Generac 2081056 | 2006 | Great shape "A+" | 2033
40 | LS300GEN01 | KELLY USA 1540 LIFT STATION GENERATOR |  | XQ100 | oly00000HX4P | 770 DAVEY CROCKETT RD - KELLY | 125 | 100 | 130 |  | Olympian oly00000Hx4P | 2003 | Good shape "G" | 2028
41 | LS192GEN01 | MISSION DEL LAGO LIFT STATION GENERATOR |  | 135598501000 | 2112993 | 10762 PLEASANTON RD - MISSION | 163 | 122.25 | 190 |  | Generac 2112993 | 2010 | Great shape "A" | 2031
42 | LS248GEN01 | 38TH STREET LIFT STATION GENERATOR |  | 5256980100 | 2083447 | 1033 38TH ST - 38TH ST | 125 | 93.75 | 200 |  | Generac 2083447 | 2005 | Great shape "A" | 2031
43 | LS151GEN01 | WOODED KNOLL LIFT STATION GENERATOR |  | 10331710100 | 2100413 | Hardy Oaks cross from new school | 100 | 75 | 100 |  | Generac 2100193 | 2009 | Great shape "A" | 2032
44 | LS170GEN01 | POLICE ACADEMY LIFT STATION EMERGENCY GENERATOR |  | 13559860100 | 2112977 | 10500 PLEASANTON RD | 100 | 75 | 190 |  | Generac 2112977 | 2010 | Great shape "A" | 2033
45 | LS233GEN01 | IRON HORSE LIFT STATION GENERATOR |  | 2544970100 | 2068490 | 12493 FM 1560 N - IRON HORSE - | 100 | 75 | 70 |  | Generac 2068490 | 2001 | Good shape "G" | 2025
46 | LS057GEN01 | CHAVANEAUX EAST LIFT STATION EMERGENCY GENERATOR |  | 13559350100 | 2112975 | 9702 RUIDOSA - CHAVANAUX E | 80 | 60 | 100 |  | Generac 2112975 | 2010 | Great shape "A" | 2033
47 | LS169GEN01 | FALCON CENTER LIFT STATION GENERATOR |  | DGCB 5554873 | D020353915 | 23490 IH 10 WEST - FALCON CENT | 80 | 60 | 55 |  | Cummins D020353915 | 2002 | Fair "g" | 2020
48 | LS269GEN01 | MISSION REACH LIFT STATION GENERATOR |  | 60RZG | 2197924 | 510 E GLENN | 75 | 56.25 | gas |  | Kohler 2197924 | 2008 | Good shape "G" | 2022
49 | LS276GEN01 | TRIANA LIFT STATION GENERATOR |  | 12045880100 | 2106632 | 23127 IH 10 West | 75 | 56.25 | 130 |  | Generac 2106632 | 2010 | Good shape "G" | 2023
50 | LS148GEN01 | INDIAN HILLS LIFT STATION GENERATOR |  | 13559910100 | 2112963 | 3500 GOLIAD RD - INDIAN HILLS | 63 | 47.25 | 130 |  | Generac 2100240 | 2009 | Great shape "A" | 2032
51 | LS180GEN01 | SOUTHTON RD LIFT STATION GENERATOR |  | S415792 | 144403 | 13719 SOUTHTON RD - SOUTHON RD | 63 | 47.25 | 130 |  | Generac 2112980 | 2011 | Great shape "a" | 2033
52 | LS209GEN01 | VINEYARD LIFT STATION GENERATOR |  | 13559880200 | 2112982 | 2303 N. LOOP 1604 W - VINEYARD | 63 | 47.25 | 130 |  | Generac 2112982 | 2011
53 | LS230GEN01 | NICKEL & DIME LIFT STATION EMERGENCY GENERATOR |  | 13559800100 | 2112962 | 13311 BABCOCK RD - NICKLE & DI | 63 | 47.25 | 130 |  | Generac 2112962 | 2011
54 | LS252GEN01 | HEIGHTS OF STONE OAK LIFT STATION GENERATOR |  | 13559880100 | 2112979 | 25103 ESTANCIA CIRCLE - HEIGHT | 63 | 47.25 | 130 |  | Generac 2112979 | 2011
55 | LS260GEN01 | WORTHAM OAKS LIFT STATION GENERATOR |  | 5647190100 | 2084602 | 5406 E EVANS RD - WORTHAM OAKS | 63 | 47.25 | 130 |  | Generac 2084802 | 2005
56 | LS263GEN01 | INDIAN SPRINGS LIFT STATION GENERATOR |  | 7081410200 | 2090275 | 25658 Rabbit Brush | 63 | 47.25 | 130 |  | Generac 2090275 | 2007
57 | LS239GEN01 | SOUTHSIDE HIGH LIFT STATION GENERATOR |  | 40REDZJB | 0766491 | 1680 MARTINEZ LOSOYA RD. - S.S | 50 | 37.5 | 100 |  | Kohler 0766491 | 2003
58 | LS304GEN01 | KELLY USA 1549 LIFT STATION GENERATOR LS Small by road |  | 252FDR1012ADAW | TJ3390514 | 223 JEFFERSON RD. KELLY USA BL | 47.5 | 35.625 | 35 |  | Marathon TJ339 | 1986
59 | LS132GEN01 | UNIVERSITY OAKS LIFT STATION EMERGENCY GENERATOR |  | 10376280100 | 2100237 | 4738 SHAVANO OAKS - UNIVERSITY | 46.6667 | 35 | 90 |  | Generac 2199237 | 2008
60 | LS303GEN01 | KELLY USA 66 LIFT STATION GENERATOR |  | 535D18 | 340941 | 111 BERMAN RD - KELLY USA BLDG | 46.6667 | 35 | 32 |  | Cummins C870880618 | 1987
61 | LS100GEN01 | WOODS OF SHAVANO W. LIFT STATION EMERGENCY GENERATOR |  | 10376330100 | 2100239 | 14626 HIDDEN GLEN WOODS - WOOD | 44 | 33 | 90 |  | Generac 2100239 | 2010
62 | LS102GEN01 | WOODS OF SHAVENO E. LIFT STATION GENERATOR |  | 10376280100 | 2100326 | 14322 INDIAN WOODS - WOODS OF | 44 | 33 | 90 |  | Generac 2100236 | 2010
63 | LS212GEN01 | AFTON OAKS LIFT STATION EMERGENCY GENERATOR |  | D6.8 |  | 00620 E AFTON OAKS BLVD- AFTON OAKS | 44 | 33 | 90 |  | Generac 2100133 | 2010
64 | LS134GEN01 | STONE OAK LIFT STATION GENERATOR |  |  |  | 1026 SILVER KNOLL - STONE OAK | 44 | 33 | 90 |  | Generac 2100238 | 2010
65 | LS147GEN01 | LEGEND HILLS LIFT STATION EMERGENCY GENERATOR |  |  |  | 7019 WASHITA WAY - LEGEND HILL | 44 | 33 | 90 |  | Generac 2100240 | 2010
66 | LS243GEN01 | LAUREL CANYON LIFT STATION GENERATOR |  | 4599370200 | 2080296 | 10225 BRAUN RD - LAUREL CANYON | 44 | 33 | 60 |  | Generac 2080296 | 2006
67 | LS264GEN01 | WESTWINDS LIFT STATION GENERATOR |  | 7730020100 | 2092191 | 12402 Alstroemeria | 44 | 33 | 194 |  | Generac 2092191 | 2008
68 | LS277GEN01 | ONE DOMINIUM LIFT STATION GENERATOR |  | 11817920200 | 2105560 | 23127 IH 10 West | 44 | 33 | 90 |  | Generac 2105560 | 2010
69 | LS270GEN01 | CHAMPIONS RIDGE LIFT STATION GENERATOR 35 KW |  | DGGD-6254281 ? | A080149051 | 127 Champion View | 43.7 | 32.775 | 90 |  | Cummins A080149051 | 2008
70 | LS268GEN01 | HAUSMAN LIFT STATION GENERATOR |  | 8915460100 | 2095418 | 811 HAUSMAN | 38 | 28.5 | 90 |  | Generac 2095418 | 2008
71 | LS215GEN01 | GOLD CANYON LIFT STATION EMERGENCY GENERATOR |  | 10331500100 | 2100128 | 3000 GOLD CANYON RD - GOLD CAN | 35 | 26.25 | 90 |  | Generac 2100128 | 2009
72 | LS126GEN01 | FIESTA LIFT STATION EMERGENCY GENERATOR |  | 11168260100 | 2103381 | 100 MERRY TRL - FIESTA | 31 | 23.25 | 90 |  | Generac 2013381 | 2000
73 | LS321GEN01 | KELLY USA 638 LIFT STATION GENERATOR |  | D20P1 | D4701A1001 | 527 CITRUS RD - EAST KELLY USA ENGINE TESTING SIDE | 25 | 18.75 | 20 |  | Olympian D4701A1001 | 2001
74 | LS322GEN01 | KELLY USA 355 LIFT STATION GENERATOR |  | 15-ORDJC-4R/917OAD | 840721678 | 355 AIRLIFT DR - KELLY USA BLD Boeing on the flight line | 20 | 15 | 15
75 | LS323GEN01 | LACKLAND AFB 907 LIFT STATION GENERATOR |  | 197A05548-S | 2037567 | 202 OSCAR WESTOVER RD 433rd AES Bldg 907 (Aeromedical Evacuation Squadron) | 20 | 15 | 15
76 | LS011GEN01 | FEATHERCREST LIFT STATION GENERATOR (#17143) |  | DFEG-673075 | G090019526 | 3847 THOUSAND OAKS - FEATHERCREST | 450 | 325 | 500 |  | Cummins G090019526 | 2009
77 | LS208GEN01 | BRIGHTON OAKS LIFT STATION GENERATOR |  | 13559880200 | SD0050-K362.4D18HPSY | 2543 BRIGHTON OAKS - BRIGHTON | 100 | 50 | 100 |  | Generac 2112981 | 2010
78 | LS226GEN01 | MARSHALL RD LIFT STATION GENERATOR |  | S415784 | 144413 | 23750 US HWY 281 N - MARSHALL | 38 | 30 | 130 |  | Generac 2112946 | 2010
79 | LS231GEN01 | COSTCO LIFT STATION GENERATOR |  |  |  | 1301 N. LOOP 1604 E - COSTCO - | 38 | 30 | 90 |  | Generac 2112953 | 2010
80 | LS236GEN01 | FOX GROVE LIFT STATION GENERATOR |  |  |  | 21355 BRANDING BAY - FOX GROVE | 100 | 80 | 190 |  | Generac 2112978 | 2010
81 | LS240GEN01 | RIVINIA LIFT STATION GENERATOR |  |  |  | 19500 US HWY 281 N - RAVINIA , | 38 | 30 | 90 |  | Generac 2112945 | 2010
82 | LS271GEN01 | CRESTA BELLA LIFT STATION GENERATOR |  |  |  | 20029 IH 10 W.
83 | LS275GEN01 | ACCD (BOERNE STAGE ROAD) LIFT STATION GENERATOR |  |  |  | 29473 IH 10 West Boerne TX | 130 | 125 | 300 |  | Cummins C130478836 | 2013
84 | LS281GEN01 | ALAMO RANCH "B" LIFT STATION GENERATOR |  | DSGAA | F130518397 | 11860 Thoroughbred Trail | 130 | 100 |  |  | Cummins F130518397 | 2013
85 | LS284GEN01 | ELKHORN RIDGE LIFT STATION GENERATOR |  |  |  | 9087 Elkhorn | 100 | 100 | 200 |  | Kohler SgM32DKSZ | 2015
86 | LS165GENO1 | ENCINO PARK LIFT STATION 165 |  |  |  | 3098 Caliza dr | 150 | 155 | 190 |  | Generac 2266425 | 2009
87 | PROD438GEN901 | SHIELDS BOOSTER PUMP STATION GENERATOR |  | D1000FSY4T2 | 157142-0408 | 7645 Heuermann | 1250 | 937.5 | 1700 | Replace | MTU 159142-0408 | 2011
88 | PROD435GEN901 | WINWOOD GENERATOR |  | 5462670100 | 2083960 | 28555 IH 10 West | 750 | 562.5 | 1400 |  | Generac 2083960 | 2005
89 | PROD422GEN901 | REDLAND GENERATOR |  | BTC-5005096 | K010307033 | 19202 US HWY 281 N. | 600 | 450 | 1000 |  | K010307033 | 2001
90 | PROD439GEN901 | INDIAN HILLS BOOSTER PUMP STATION GENERATOR |  | 572RSL4025 | MX-138492-1009 | 8461 Indian Hills Lane | 562 | 421.5 | 875 |  | MTU 315133-1-11109
91 | PROD126GEN901 | STAPLETON PARK GENERATOR |  | 400DFCE | C970632256 | 2047 STAPLETON ST. | 500 | 375 | 350 |  | Cummins C970632256 | 1997
92 | PROD431GEN901 | ROFT RD. GENERATOR |  | 7050800100 | 2090936 | 12560 Rockwall Mill Rd | 500 | 375 | 350 |  | Generac 2090936 | 2006
93 | PROD125GEN901 | LINDBERG PARK GENERATOR |  | SR-R | 9FF01209 | 85 PARK CT | 466.6667 | 350 | 250 |  | Cat 9FF1209 | 1994
94 | PROD128GEN901 | UPSON PARK GENERATOR |  | 350DFCC | E960607350 | 1040 BILLY MITCHELL ROAD | 466.6667 | 350 | 300
95 | PROD440GEN901 | CRESCENT PARK BOOSTER EMERGENCY GENERATOR |  | DCDAC1345374 | A1400620398 | 180 Dominion Drive | 375 | 281.25 | 600 |  | A140620398 | 2014
96 | PROD436GEN901 | SALADO BOOSTER EMERGENCY GENERATOR |  | 250RE0JZD | 2299591 | 18450 ROGERS BEND | 313 | 234.75 | 300 |  | Kohler 2289591 | 2010
97 | PROD207GEN301 | SALADO CREEK CL2 BLDG EMERGENCY GENERATOR #1 |  | 230DFAB | J920487672 | 13496 BLUE WING ROAD | 288 | 216 | 200 |  | Cummings L920495503 | !992
98 | PROD403GEN901 | DOMINION GENERATOR |  | 8717030200 | 2094834 | 27 Devon Woods | 169 | 126.75 | 97 |  | Generac 2094834 | 2007
99 | PROD427GEN901 | WINCHESTER GENERATOR |  | G75F1 | E0715A/001 | 2560 Marshall Rd. | 100 | 75 | 200 |  | Olympian E0714A1001 | 2007
100 | PROD022GEN901 | OLIVER RANCH GENERATOR |  | DGCG-57821900 | L0G0000861 | 26293 US HWY 281 N. | 62.6667 | 47 | 130 |  | Cummins L060000861 | 2006
101 | PROD020GEN902 | CULEBRA STATION GENERATOR #2 (SWITCHGEAR) |  |  |  | 15002 Geronimo Loop | 43 | 32.25 | 90 |  | Generac 2056361 | 2001
102 | PROD002GEN901 | ANDERSON EMERGENCY GENERATOR |  | DSFAE-9298893 | L1102811736 | 5025 LOOP WEST 1604 NORTH | 100 | 80 | 100 |  | Cummins L110281736 | 2011
103 | PROD009GEN901 | MISSION PUMP STATION EMERGENCY GENERATOR |  | 0387-63 NR3 | 73196911 | 615 THEO PKWY | 100 | 100 |  |  | Cummins B110190768 | 2011
104 | PROD311GEN901 | HILDEBRAND TANK STATION GENERATOR |  | 8371250100 | 2093929 | 643 E. HILDEBRAND | 185 | 150 | 200 |  | Generac 2093929 | 2008
105 | PROD324GEN501 | TINKER TANK STATION GENERATOR |  |  |  | 246 TINKER DRIVE
106 | PROD325GEN901 | SOUTH FOSTER GENERATOR |  | 0058701 | 7027794 | 2727 SOUTH FOSTER RD | 10 | 8 | propane |  | Generac 7027794 | 2012
107 | PROD441GEN901 | SCHERTZ PARKWAY EMERGENCY GENERATOR |  |  |  | 1744 Schertz Parkway behind Schertz Visitor Center | 20 | 15 |  |  | Generac 2117431 | 2010
108 | PRODMRSCGEN010 | MISSION ROAD SERVICE CENTER EMERGENCY GENERATOR |  |  |  | 517 Mission Rd. | out | out | out
109 | PROD010GEN901 | NACO |  | 20REOZK |  | 13655 O'Conner |  | 21 | 90 |  | Kohler SGM32D2GC | 2015
110 | BM065GEN901 | ASPEN LANE WELL FIELD EMERGENCY GENERATOR |  |  |  | 201 BITTERS RD | 2500 | 1875 | 2500 | to | Cat G5H00260 | 2006
111 | BM064GEN901 | KNIGHTS CROSS BOOSTER PUMP STATION GENERATOR |  | DQFAC | F100132708 | 451 Knights Cross Dr | 1200 | 900 | 2150 |  | Cummins F100132708 | 2010
112 | BM178GEN901 | STEVENS RANCH PUMP STATION EMERGENCY GENERATOR |  |  |  | 1150 Stevens Parkway | 900 | 675 | 1880 |  | MTU 155980-0208
113 | BM206GEN901 | HARDY OAKS BLANCO PUMP STATION EMERGENCY GENERATOR |  | QSX15 - G9 | 79459694 | 1416 W Oaks Estates Drive | 625 | 468.75 | 420 |  | F110191465 | 2011
114 | BM039GEN901 | TEXAS RESEARCH PARK STATION EMERGENCY GENERATOR |  |  |  | 15340 Lambda Drive | 583.3333 | 437.5 | 500 |  | Cat 5LA01820 | 1995
115 | BM001GEN17165 | PRODUCTION SPARE GENERATOR (MOBILE) #17165 |  | 250DSEJD | 2165272 | 3495 Valley Rd | 313 | 234.75 | 500
116 | BM125GEN901 | WEST VIEW (CR3820) STATION EMERGENCY GENERATOR |  | 250DQAB-359 | H990975252 | 699 CR3820 Medina County | 313 | 234.75 | 500 |  | Cummins H990975252 | 1999
117 | BM169GEN901 | MEADOW WOOD ACRES (CALLE BRISENO) STATION EMERGENCY GENERATOR |  | DQDAA-1208165 | J090039890 | 6510 Calle Briseno | 313 | 234.75 | 500 |  | Cummins J090089890 | 2009
118 | BM040GEN901 | CHAPARRAL PUMP STATION GENERATOR |  |  |  | 6614 Little Joe Trail | 312.5 | 234.375 | 500 |  | MTU 2154227
119 | BM020GEN901 | SOMERSET BOOSTER PUMP STATION GENERATOR (NEW) |  |  |  | 19260 Somerset Rd. Somerset TX | 288 | 216 | 500 |  | Cat | 2016
120 | BM074GEN901 | HICKORY HOLLOW STATION EMERGENCY GENERATOR |  | 230DS | 603031 | 23110 Little Walnut Drive | 288 | 216 | 500 |  | Kohler 603031 | 1999
121 | BM085GEN901 | RAY LIECK STATION GENERATOR (ELM VALLEY #3) |  | 3254760100 | 2072774 | 2838 Ray Lieck | 225 | 168.75 | 500 |  | Generac 2072774 | 2002
| BM174GEN901 | FAR WEST BOOSTER PUMP STATION EMERGENCY GENERATOR |  | 4869960100 | 2081439 | 4835 Hwy 1604 South | 163 | 122.25 | 500 |  | Generac 2081439 | 2005
123 | BM087GEN901 | AQUA PURA WATER PLANT EMERGENCY GENERATOR (DEV) |  |  |  | 6725 Moreno St. | 500 | 400 | 500 |  | Cat 90R02767 | 2001
124 | BM095GEN901 | WILD TURKEY PUMP STATION EMERGENCY GENERATOR |  |  |  | 25734 WILD TURKEY RD. | 300 | 230 | 200 |  | Cummins E090006154 | 2009
125 | BM198GEN901 | STEIN RANCH PUMP STATION EMERGENCY GENERATOR |  |  |  | 18999 HUEBNER | 38 | 30 | propane |  | Generac 2323627 | 2010
126 | BM027ENG201 | WEST AVE |  | TD100G |  | 6912 West Ave |  |  |  |  | Volvo direct drive
127 | HQ01GEN01 | HEAD QUARTERS TOWER #1 EMERGENCY GENERATOR |  |  |  | 2800 U.S. Hwy 281 North | 1125 | 900 | 600 |  | Cummins E980748663 | 1998
128 | HQESSC902 | EASTSIDE SERVICE CENTER EMERGENCY GENERATOR |  |  |  | 3930 E Houston St | 600 | 450 | 425 |  | Baldor P1211080004
129 | HQ01GEN02 | HEAD QUARTERS TOWER #2 EMERGENCY GENERATOR |  |  |  | 2800 U.S. Hwy 281 North | 400 | 320 | 500 |  | Cummins G090019067 | 2009
130 | HQNFOCGEN903 | NORTHSIDE SERVICE CENTER |  | DFEJ-1524012 |  | 15103 Capital Port Dr. |  | 450 |  |  | Cummins A160913886 | 2016
131 | HQWSOCGEN904 | WESTSIDE SERVICE CENTER |  | 450DFEJ-1534013 |  | 2903 Hunt Lane |  | 450 |  |  | Cummins A160913887 | 2016
132 |  | DWYER TANK STATION EMERGENCY GENERATOR (DEV) |  |  |  | 7201 Sun Valley | 200 | 150 | 377 |  | Generac 2072774 | 2015
133 |  | ECHO MOUNTAIN STATION EMERGENCY GENERATOR (DEV) |  |  |  | 25723 Echo Mountain | 10 | 8 | propane |  | Generac | 2015
134 |  | VESTAL TANK STATION EMERGENCY GENERATOR (DEV) |  |  |  | 111 VESTAL | 10 | 8 | propane |  | Generac | 2015
135 |  | NEW WORLD PUMP STATION EMERGENCY GENERATOR (DEV) |  |  |  | 9623 New World | 10 | 8 | propane |  | Generac | 2015
136 |  | HILL TOP LIFT STATION EMERGENCY GENERATOR (spare) |  | 150REOZJD | 2266424 | 411 CARLISLE | 194 | 145.5 | 190 |  | Kohler 2262775 | 2009
137 |  | TOYOTA SOUTH LIFT STATION GENERATOR (Spare unit ) (LS254) |  | 6423360200 | 2087954 | 411 CARLISLE | 169 | 126.75 | 500
138 | LS175GEN01 | CEDAR CREEK LIFT STATION EMERGENCY GENERATOR |  | J1844 | 144331 | 19400 KYLE SEALE PWKY - CEDAR | 100 | 65 | 200 |  | Generac 2112976 | 2010
139 |  | Spare production Trailer unit |  | 250DQAB-359 | J990006470 | 411 Carlisle | 312 | 250 | 120 |  | Cummins J990006470 | 1999
142 |  | CARLISLE STATION EMERGENCY GENERATOR (O/S) |  | 80.0DGDA-L/30472A | C870880618 | 411 CARLISLE | 100 | 75 | 200
143 | PROD437GEN901 | TOWERVIEW GENERATOR (need to be replaced ATF) |  | 6CTA8.3-G2 | 46228263 | 10102 Rafter S Trail | 180 | 150 | 130 | 80000 | Cummins G020390073 | 2002
145 | PROD426GEN901 | WALDEN GENERATOR (need to be replaced along with transfer sw) |  | 100.ODYC-15R/18933J | H840722245 | 6601 Legend Lane | 125 | 93.75 | 90 | 100000
146 | BM160GEN901 | COLOR SPOT NURSERY EMERGENCY GENERATOR (need to be replaced) |  |  |  | 7960 Cagnon Rd, (colorspot Nursery) | 60 | 50 | 500 | 70000
147 | PROD020GEN901 | CULEBRA STATION GENERATOR #1 (PACKAGE) (OUT of SERVICE) |  | 20A01519-S | 2056361 | 15002 Geronimo Loop | 333.3333 | 250 | 200
148 | BM020GEN901 **OS** | SOMERSET BOOSTER PUMP STATION GENERATOR (OLD UNIT) |  | 230DS | 603029 | Carlisle | 287.5 | 215.625 | 250 |  | MTU 603029
| LS219GEN01 | FISCHER RD LIFT STATION GENERATOR |  | 180R0ZJ | 603967 | Carlisle | 225 | 168.75 | 160 |  | Kohler | 1992
|  | OLD LEON HEADWORKS |  | 87A01927-S | 840588 | Carlisle | 187 | 150 |  |  | Generac 840588
|  | OLD KELLY 66 |  | 535D18 | 340941 | Carlisle | 43.1 | 35 |  |  | US MOTORS | 1900
|  | OLD H&C PLANT UNIT |  | 98A03665 S | 2042604 | Carlisle | 218 | 175 |  |  | Generac 840588
|  | OLD KELLY 1540 |  | 431RSL2008A | TK 3414476 | Carlisle | 185 | 150
These are the units that are located at Carlisle
This unit is out of service
These units need to be replaced either by other units that become available or
put into the budget and replaced by contractors.
No Longer in Service
Auction off or dispose of
Note on J50: Raul Flores:

## Sheet2
UPDATED GENERATOR LIST TO DATE 05/19/17
| UNIT ID # | Facility | MODEL | SERIEL NO. | Address | KVA | Rounded kWA | kW | Tank/gal | Cost
1 | MC201ELGEN03 | MEDIO CREEK EXPANSION EMERGENCY GENERATOR | 744RSL4054 | WA-558595-0507 | 2231 Hunt Lane | 2500 | 1900 | 1875 | 3500 | Estimates
2 | BM065GEN901 | ASPEN LANE WELL FIELD EMERGENCY GENERATOR |  |  | 201 BITTERS RD | 2500 | 1900 | 1875 | 2500 | to
3 | PROD438GEN901 | SHIELDS BOOSTER PUMP STATION GENERATOR | D1000FSY4T2 | 157142-0408 | 7645 Heuermann | 1250 | 900 | 937.5 | 1700 | Replace
4 | BM064GEN901 | KNIGHTS CROSS BOOSTER PUMP STATION GENERATOR | DQFAC | F100132708 | 451 Knights Cross Dr | 1200 | 900 | 900 | 2150
5 | HQ01GEN01 | HEAD QUARTERS TOWER #1 EMERGENCY GENERATOR |  |  | 2800 U.S. Hwy 281 North | 1125 | 800 | 900 | 600
6 | BM178GEN901 | STEVENS RANCH PUMP STATION EMERGENCY GENERATOR |  |  | 1150 Stevens Parkway | 900 | 700 | 675 | 1880
7 | DR02ELGEN02 | DOS RIOS PRIMARY AREA EMERGENCY GENERATOR #1 | LSA 50 MA | 153883/1 | 3495 Valley Rd | 762 | 600 | 571.5 | 500
8 | DR02ELGEN03 | DOS RIOS PRIMARY AREA EMERGENCY GENERATOR #2 | LSA 50 MA | 81Z06237 | 3495 Valley Rd | 762 | 600 | 571.5 | 500
9 | PROD435GEN901 | WINWOOD GENERATOR | 5462670100 | 2083960 | 28555 IH 10 West | 750 | 600 | 562.5 | 1400
10 | MC01ELGEN02 | MEDIO BACK UP GENERATOR | 3412 |  | 2231 Hunt Lane | 693 | 500 | 520 | 500
11 | DR07ELGEN05 | DOS RIOS CHLORINE GENERATORS # 1 | MD-SR4 | 81Z05523 | 3495 Valley Rd | 625 | 500 | 468.75 | 450
12 | LS172GEN01 | ACEQUIA PARK LIFT STATION GENERATOR | 500DFFB | E940542962 | 8510 MISSION PARKWAY | 625 | 500 | 468.75 | 500
13 | LS235GEN01 | FOSSIL RIDGE LIFT STATION GENERATOR | DFED 5585720 | L020450265 | 4615 E EVANS RD - FOSSIL RIDGE | 625 | 500 | 468.75 | 450
14 | BM206GEN901 | HARDY OAKS BLANCO PUMP STATION EMERGENCY GENERATOR | QSX15 - G9 | 79459694 | 1416 W Oaks Estates Drive | 625 | 500 | 468.75 | 420
15 | PROD422GEN901 | REDLAND GENERATOR | BTC-5005096 | K010307033 | 19202 US HWY 281 N. | 600 | 500 | 450 | 1000
16 | HQESSC902 | EASTSIDE SERVICE CENTER EMERGENCY GENERATOR |  |  | 3930 E Houston St | 600 | 500 | 450 | 425
17 | BM039GEN901 | TEXAS RESEARCH PARK STATION EMERGENCY GENERATOR |  |  | 15340 Lambda Drive | 583.3333 | 400 | 437.5 | 500
18 | PROD439GEN901 | INDIAN HILLS BOOSTER PUMP STATION GENERATOR | 572RSL4025 | MX-138492-1009 | 8461 Indian Hills Lane | 562 | 400 | 421.5 | 875
19 | LS265GEN01 | VILLAGES OF BULVERDE LIFT STATION GENERATOR | C4.4 | F3A00516 | 24514 INVITATION OAK | 533.3333 | 400 | 400 | 200
20 | DR07ELGEN06 | DOS RIOS CHLORINE GENERATORS #2 | MD-SR4 | 81Z0558 | 3495 Valley Rd | 500 | 400 | 375 | 450
21 | LS258GEN01 | ALAMO RANCH LIFT STATION GENERATOR | LC6 | G6B01613 | 11860 THOROUGHBREAD TRAIL - AL | 500 | 400 | 375 | 500
22 | PROD126GEN901 | STAPLETON PARK GENERATOR | 400DFCE | C970632256 | 2047 STAPLETON ST. | 500 | 400 | 375 | 350
23 | PROD431GEN901 | ROFT RD. GENERATOR | 7050800100 | 2090936 | 12560 Rockwall Mill Rd | 500 | 400 | 375 | 350
24 | PROD125GEN901 | LINDBERG PARK GENERATOR | SR-R | 9FF01209 | 85 PARK CT | 466.6667 | 400 | 350 | 250
25 | PROD128GEN901 | UPSON PARK GENERATOR | 350DFCC | E960607350 | 1040 BILLY MITCHELL ROAD | 466.6667 | 400 | 350 | 300
26 | BM001GEN17142 | PRODUCTION SPARE GENERATOR #17142 | DFEG-673075 | G090019525 | 411 CARLISLE | 438 | 300 | 328.5 | 500
27 | BM001GEN17144 | PRODUCTION SPARE GENERATOR #17144 | DFEG-673039 | G090019068 | 411 CARLISLE | 437.5 | 300 | 328.125 | 500
28 | HQ01GEN02 | HEAD QUARTERS TOWER #2 EMERGENCY GENERATOR |  |  | 2800 U.S. Hwy 281 North | 400 | 300 | 320 | 500
29 | LS273GEN01 | BITTER BLUE LIFT STATION GENERATOR |  | 451-D2 | 28194 BULVERDE | 400 | 300 | 300 | 500
30 | LC01ELGEN01 | LEON CREEK EQ EMERGENCY GENERATOR | CC43E | K890280958 | 1104 MAUERMAN RD. | 375 | 300 | 281.25 | 275
31 | LS238GEN01 | FREEDOM ELEMENTARY LIFT STATION GENERATOR | 300REOZV | 0766952 | 3845 S LOOP 1604 E - FREEDOM E | 375 | 300 | 281.25 | 300
32 | PROD440GEN901 | CRESCENT PARK BOOSTER EMERGENCY GENERATOR | DCDAC1345374 | A1400620398 | 180 Dominion Drive | 375 | 300 | 281.25 | 600
33 | SC01ELGEN01 | SALADO CREEK HEADWORKS EMERGENCY GENERATOR | NTA-855-G2 | C900303054 | 13496 BLUE WING ROAD | 375 | 300 | 281.25 | 250
34 | LS191GEN01 | MUDD CREEK LIFT STATION EMERGENCY GENERATOR |  |  | 20505 HWY. 281 N. | 344 | 300 | 258 | 200
35 | LC07ELGEN04 | LEON CREEK CL2 / SO2 AREA STANDBY GENERATOR #2 | SR4 | 5WF00582 | 1104 MAUERMAN RD. | 187.5 | 100 | 250 | 225
36 |  | CULEBRA STATION GENERATOR #1 (PACKAGE) (OUT of SERVICE) | 20A01519-S | 2056361 | 15002 Geronimo Loop | 333.3333 | 300 | 250 | 200
37 | BM001GEN17165 | PRODUCTION SPARE GENERATOR (MOBILE) #17165 | 250DSEJD | 2165272 | 3495 Valley Rd | 313 | 200 | 234.75 | 500
38 | LS249GEN01 | CIBOLO CANYON LIFT STATION GENERATOR | 3967990100 | 2076666 | 22700 BULVERDE RD. | 313 | 200 | 234.75 | 196
39 | PROD436GEN901 | SALADO BOOSTER EMERGENCY GENERATOR | 250RE0JZD | 2299591 | 18450 ROGERS BEND | 313 | 200 | 234.75 | 300
40 | BM125GEN901 | WEST VIEW (CR3820) STATION EMERGENCY GENERATOR | 250DQAB-359 | H990975252 | 699 CR3820 Medina County | 313 | 200 | 234.75 | 500
41 | BM169GEN901 | MEADOW WOOD ACRES (CALLE BRISENO) STATION EMERGENCY GENERATOR | DQDAA-1208165 | J090039890 | 6510 Calle Briseno | 313 | 200 | 234.75 | 500
42 | BM040GEN901 | CHAPARRAL PUMP STATION GENERATOR |  |  | 6614 Little Joe Trail | 312.5 | 200 | 234.375 | 500
43 | BM020GEN901 | SOMERSET BOOSTER PUMP STATION GENERATOR (NEW) |  |  | 19260 Somerset Rd. Somerset TX Loop 1604 and Somerset Rd | 288 | 200 | 216 | 500
44 | BM074GEN901 | HICKORY HOLLOW STATION EMERGENCY GENERATOR | 230DS | 603031 | 23110 Little Walnut Drive | 288 | 200 | 216 | 500
45 | DR012ELGEN10 | DOS RIOS ENVIRONMENTAL LAB EMERGENCY GENERATOR | 6163100200 | 2086800 | 3610 Valley Rd | 288 | 200 | 216 | 183
46 | PROD207GEN301 | SALADO CREEK CL2 BLDG EMERGENCY GENERATOR #1 | 230DFAB | J920487672 | 13496 BLUE WING ROAD | 288 | 200 | 216 | 200
47 | BM020GEN901 **OS** | SOMERSET BOOSTER PUMP STATION GENERATOR (OLD UNIT) | 230DS | 603029 | 19260 Somerset Rd. Somerset TX Loop 1604 and Somerset Rd | 287.5 | 200 | 215.625 | 250
48 | DR10ELGEN08 | DOS RIOS BELT PRESS EMERGENCY GENERATOR | 95A00392-S | 2018291 | 3495 Valley Rd | 250 | 200 | 187.5 | 300
49 | LC07ELGEN03 | LEON CREEK CL2 / SO2 AREA STANDBY GENERATOR #1 | SR4 | 5WF00583 | 1104 MAUERMAN RD. | 250 | 200 | 187.5 | 225
50 | LS251GEN01 | SOLANA RIDGE LIFT STATION GENERATOR | D200P4 | OLY00000ANNS01141 | 7622 COVEL RD. | 250 | 200 | 187.5 | 100
51 | BM085GEN901 | RAY LIECK STATION GENERATOR (ELM VALLEY #3) | 3254760100 | 2072774 | 2838 Ray Lieck | 225 | 200 | 168.75 | 500
52 | LS187GEN01 | NEAR WEST LIFT STATION GENERATOR | 180REOZJD | 2266493 | 9520 KRIEWALD RD - NEAR WEST | 225 | 200 | 168.75
53 | LS219GEN01 | FISCHER RD LIFT STATION GENERATOR | 180R0ZJ | 603967 | 10701 FISCHER RD - FISCHER RD | 225 | 200 | 168.75 | 160
54 | LS246GEN01 | SAN ANTONIO RANCH LIFT STATION GENERATOR | 440FDR7111JJW | 30128155 | 16596 BANDERA RD - SAN ANTONIO | 210 | 200 | 157.5 | 150
55 | LS221GEN01 | HERITAGE ELEMENTARY LIFT STATION GENERATOR | 150REOZJB | 07655826 | 3223 S LOOP 1604 E - HERITAGE | 200 | 200 | 150 | 150
56 | LS016GEN01 | PRESTWICK LIFT STATION GENERATOR | 150DGFA | J980817240 | 5106 FERRINGTON - FERRINGTON | 200 | 200 | 150 | 150
57 |  | DWYER TANK STATION EMERGENCY GENERATOR (DEV) |  |  | 7201 Sun Valley | 200 | 200 | 150 | 377
58 |  | CAGNON LIFT STATION EMERGENCY GENERATOR (spare) | 150REOZJD | 2266423 | 411 CARLISLE | 194 | 100 | 145.5 | 190
59 |  | HILL TOP LIFT STATION EMERGENCY GENERATOR (spare) | 150REOZJD | 2266424 | 411 CARLISLE | 194 | 100 | 145.5 | 190
60 |  | LONE STAR LIFT STATION GENERATOR (spare) | 150REOZJD | 2266425 | 411 CARLISLE | 194 | 100 | 145.5 | 190
61 | LS201GEN01 | HIGHWAY 90 W. LIFT STATION GENERATOR | DFED5585720 | 2266426 | 10102 US HWY 90 W - HWY 90 W | 194 | 100 | 145.5 | 190
62 | LS250GEN01 | TOYOTA NORTH LIFT STATION GENERATOR | 4760090100 | 2081056 | 15203 APPLEWHITE RD - TOYOTA N | 188 | 100 | 141 | natural gas
63 | LS300GEN01 | KELLY USA 1540 LIFT STATION GENERATOR | 431RSL2008A-F235W | TK3414476 | 770 DAVEY CROCKETT RD - KELLY | 188 | 100 | 141 | 130
64 | LC01ELGEN02 | LEON CREEK HEADWORKS EMERGENCY GENERATOR | 87A01927-S | 840588 | 1104 MAUERMAN RD. | 188 | 100 | 141 | 130
65 | PROD437GEN901 | TOWERVIEW GENERATOR (need to be replaced ATF) | 6CTA8.3-G2 | 46228263 | 10102 Rafter S Trail | 180 | 100 | 135 | 130 | 80000
66 |  | TOYOTA SOUTH LIFT STATION GENERATOR (Spare unit ) (LS254) | 6423360200 | 2087954 | 411 CARLISLE | 169 | 100 | 126.75 | 500
67 | PROD403GEN901 | DOMINION GENERATOR | 8717030200 | 2094834 | 27 Devon Woods | 169 | 100 | 126.75 | 97
68 | BM174GEN901 | FAR WEST BOOSTER PUMP STATION EMERGENCY GENERATOR | 4869960100 | 2081439 | 4835 Hwy 1604 South | 163 | 100 | 122.25 | 500
69 | LS192GEN01 | MISSION DEL LAGO LIFT STATION GENERATOR | 135598501000 | 2112993 | 10762 PLEASANTON RD - MISSION | 163 | 100 | 122.25 | 190
70 | MC07ELGEN04 | MEDIO DISINFECTION BACK UP GENERATOR | 96A01180-S | 2026273 | 2231 Hunt Lane | 156.2 | 100 | 117.15 | 500
71 | LS248GEN01 | 38TH STREET LIFT STATION GENERATOR | 5256980100 | 2083447 | 1033 38TH ST - 38TH ST | 125 | 100 | 93.75 | 200
72 |  | WALDEN GENERATOR (need to be replaced along with transfer sw) | 100.ODYC-15R/18933J | H840722245 | 6601 Legend Lane | 125 | 100 | 93.75 | 90 | 100000
73 | TW06GEN901 | TWIN OAKS CHEMICAL BUILDING EMERGENCY GENERATOR | 3182830200 | 2072312 | 4588 HARDY ROAD | 125 | 100 | 93.75 | 130
74 |  | CARLISLE STATION EMERGENCY GENERATOR (O/S) | 80.0DGDA-L/30472A | C870880618 | 411 CARLISLE | 100 | 100 | 75 | 200
75 | LS151GEN01 | WOODED KNOLL LIFT STATION GENERATOR | 10331710100 | 2100413 | Hardy Oaks cross from new school | 100 | 100 | 75 | 100
76 | LS170GEN01 | POLICE ACADEMY LIFT STATION EMERGENCY GENERATOR | 13559860100 | 2112977 | 10500 PLEASANTON RD behind the Police Academy Shooting Range | 100 | 100 | 75 | 190
77 | LS233GEN01 | IRON HORSE LIFT STATION GENERATOR | 2544970100 | 2068490 | 12493 FM 1560 N - IRON HORSE - | 100 | 100 | 75 | 70
78 | BM083GEN901 | ENCHANTED SUNSET GENERATOR (out of service) | XQ100P4 | OLY HXP00131 | 11351 Enchanted Sunset | 100 | 100 | 75 | 250
79 | PROD427GEN901 | WINCHESTER GENERATOR | G75F1 | E0715A/001 | 2560 Marshall Rd. | 100 | 100 | 75 | 200
80 | LS057GEN01 | CHAVANEAUX EAST LIFT STATION EMERGENCY GENERATOR | 13559350100 | 2112975 | 9702 RUIDOSA - CHAVANAUX E | 80 | 100 | 60 | 100
81 | LS169GEN01 | FALCON CENTER LIFT STATION GENERATOR | DGCB 5554873 | D020353915 | 23490 IH 10 WEST - FALCON CENT | 80 | 100 | 60 | 55
82 | LS269GEN01 | MISSION REACH LIFT STATION GENERATOR | 60RZG | 2197924 | 510 E GLENN | 75 | 100 | 56.25 | gas
83 | LS276GEN01 | TRIANA LIFT STATION GENERATOR | 12045880100 | 2106632 | 23127 IH 10 West | 75 | 100 | 56.25 | 130
84 | LS148GEN01 | INDIAN HILLS LIFT STATION GENERATOR | 13559910100 | 2112963 | 3500 GOLIAD RD - INDIAN HILLS | 63 | 0 | 47.25 | 130
85 | LS180GEN01 | SOUTHTON RD LIFT STATION GENERATOR | S415792 | 144403 | 13719 SOUTHTON RD - SOUTHON RD | 63 | 0 | 47.25 | 130
86 | LS209GEN01 | VINEYARD LIFT STATION GENERATOR | 13559880200 | 2112982 | 2303 N. LOOP 1604 W - VINEYARD | 63 | 0 | 47.25 | 130
87 | LS230GEN01 | NICKEL & DIME LIFT STATION EMERGENCY GENERATOR | 13559800100 | 2112962 | 13311 BABCOCK RD - NICKLE & DI | 63 | 0 | 47.25 | 130
88 | LS252GEN01 | HEIGHTS OF STONE OAK LIFT STATION GENERATOR | 13559880100 | 2112979 | 25103 ESTANCIA CIRCLE - HEIGHT | 63 | 0 | 47.25 | 130
89 | LS260GEN01 | WORTHAM OAKS LIFT STATION GENERATOR | 5647190100 | 2084602 | 5406 E EVANS RD - WORTHAM OAKS | 63 | 0 | 47.25 | 130
90 | LS263GEN01 | INDIAN SPRINGS LIFT STATION GENERATOR | 7081410200 | 2090275 | 3500 GOLIAD RD. | 63 | 0 | 47.25 | 130
91 | PROD022GEN901 | OLIVER RANCH GENERATOR | DGCG-57821900 | L0G0000861 | 26293 US HWY 281 N. | 62.6667 | 0 | 47 | 130
92 | DR03ELGEN04 | DOS RIOS CMS EMERGENCY GENERATOR | 40.0 DL6T-15B/14A | G870907108 | 3495 Valley Rd | 50 | 0 | 37.5 | 50
93 | LS239GEN01 | SOUTHSIDE HIGH LIFT STATION GENERATOR | 40REDZJB | 0766491 | 1680 MARTINEZ LOSOYA RD. - S.S | 50 | 0 | 37.5 | 100
94 | TWFCGEN902 | TWIN OAKS ANTENA GENERATOR | 95A00854-S | 2018967 | 4588 HARDY ROAD | 50 | 0 | 37.5 | 50
95 | LS304GEN01 | KELLY USA 1549 LIFT STATION GENERATOR | 252FDR1012ADAW | TJ3390514 | 223 JEFFERSON RD. KELLY USA BL | 47.5 | 0 | 35.625 | 35
96 | LS132GEN01 | UNIVERSITY OAKS LIFT STATION EMERGENCY GENERATOR | 10376280100 | 2100237 | 4738 SHAVANO OAKS - UNIVERSITY | 46.6667 | 0 | 35 | 90
97 | LS303GEN01 | KELLY USA 66 LIFT STATION GENERATOR | 535D18 | 340941 | 111 BERMAN RD - KELLY USA BLDG | 46.6667 | 0 | 35 | 32
98 | LS100GEN01 | WOODS OF SHAVANO W. LIFT STATION EMERGENCY GENERATOR | 10376330100 | 2100239 | 14626 HIDDEN GLEN WOODS - WOOD | 44 | 0 | 33 | 90
99 | LS102GEN01 | WOODS OF SHAVENO E. LIFT STATION GENERATOR | 10376280100 | 2100326 | 14322 INDIAN WOODS - WOODS OF | 44 | 0 | 33 | 90
100 | LS212GEN01 | AFTON OAKS LIFT STATION EMERGENCY GENERATOR | D6.8 |  | 00620 E AFTON OAKS BLVD- AFTON OAKS | 44 | 0 | 33 | 90
101 | LS134GEN01 | STONE OAK LIFT STATION GENERATOR |  |  | 1026 SILVER KNOLL - STONE OAK | 44 | 0 | 33 | 90
102 | LS147GEN01 | LEGEND HILLS LIFT STATION EMERGENCY GENERATOR |  |  | 7019 WASHITA WAY - LEGEND HILL | 44 | 0 | 33 | 90
103 | LS243GEN01 | LAUREL CANYON LIFT STATION GENERATOR | 4599370200 | 2080296 | 10225 BRAUN RD - LAUREL CANYON | 44 | 0 | 33 | 60
104 | LS264GEN01 | WESTWINDS LIFT STATION GENERATOR | 7730020100 | 2092191 | 12402 Alstroemeria | 44 | 0 | 33 | 194
105 | LS277GEN01 | ONE DOMINIUM LIFT STATION GENERATOR | 11817920200 | 2105560 | 23127 IH 10 West | 44 | 0 | 33 | 90
106 | HCP1625GEN01 | KELLY BLDG 1625 EMERGENCY GENERATOR |  |  | 307 Chitty | 43.7 | 0 | 32.775 | 90
107 | LS270GEN01 | CHAMPIONS RIDGE LIFT STATION GENERATOR 35 KW | DGGD-6254281 ? | A080149051 | 127 Champion View | 43.7 | 0 | 32.775 | 90
108 | PROD020GEN902 | CULEBRA STATION GENERATOR #2 (SWITCHGEAR) |  |  | 15002 Geronimo Loop | 43 | 0 | 32.25 | 90
109 | LS268GEN01 | HAUSMAN LIFT STATION GENERATOR | 8915460100 | 2095418 | 811 HAUSMAN | 38 | 0 | 28.5 | 90
110 | LS215GEN01 | GOLD CANYON LIFT STATION EMERGENCY GENERATOR | 10331500100 | 2100128 | 3000 GOLD CANYON RD - GOLD CAN | 35 | 0 | 26.25 | 90
111 | LC12ELGEN05 | TWIN OAKS GUARD HOUSE ELECTRICAL GENERATOR | DKAF - 5867860 | G070078120 | 4588 HARDY ROAD | 31.2 | 0 | 23.4 | 90
112 | LS126GEN01 | FIESTA LIFT STATION EMERGENCY GENERATOR | 11168260100 | 2103381 | 100 MERRY TRL - FIESTA | 31 | 0 | 23.25 | 90
113 | DR05ELGEN07 | DOS RIOS PROCESS AIR COMPRESSORS BUILDING GENERATOR | 91A03492-S/SR4 | 2000812 | 3495 Valley Rd | 25 | 0 | 18.75 | 15
114 | LS321GEN01 | KELLY USA 638 LIFT STATION GENERATOR | D20P1 | D4701A1001 | 527 CITRUS RD - EAST KELLY USA ENGINE TESTING SIDE | 25 | 0 | 18.75 | 20
115 | MCFCGEN01 | MEDIO TOWER EMERGENCY GENERATOR | 3982270200 | 2076684 | 2231 Hunt Lane | 25 | 0 | 18.75 | 200
116 | LS322GEN01 | KELLY USA 355 LIFT STATION GENERATOR | 15-ORDJC-4R/917OAD | 840721678 | 355 AIRLIFT DR - KELLY USA BLD Boeing on the flight line | 20 | 0 | 15 | 15
117 | LS323GEN01 | LACKLAND AFB 907 LIFT STATION GENERATOR | 197A05548-S | 2037567 | 202 OSCAR WESTOVER RD 433rd AES Bldg 907 (Aeromedical Evacuation Squadron) | 20 | 0 | 15 | 15
118 | BM087GEN901 | AQUA PURA WATER PLANT EMERGENCY GENERATOR (DEV) |  |  | 6725 Moreno St. | 500 | 400 | 400 | 500
119 | BM095GEN901 | WILD TURKEY PUMP STATION EMERGENCY GENERATOR |  |  | 25734 WILD TURKEY RD. | 300 | 200 | 230 | 200
120 | BM160GEN901 | COLOR SPOT NURSERY EMERGENCY GENERATOR (need to be replaced) |  |  | 7960 Cagnon Rd, (colorspot Nursery) | 60 | 0 | 50 | 500 | 70000
121 |  | ECHO MOUNTAIN STATION EMERGENCY GENERATOR (DEV) |  |  | 25723 Echo Mountain | 10 | 0 | 8 | propane
122 | BM198GEN901 | STEIN RANCH PUMP STATION EMERGENCY GENERATOR |  |  | 18999 HUEBNER | 38 | 0 | 30 | propane
123 |  | VESTAL TANK STATION EMERGENCY GENERATOR (DEV) |  |  | 111 VESTAL | 10 | 0 | 8 | propane
124 |  | NEW WORLD PUMP STATION EMERGENCY GENERATOR (DEV) |  |  | 9623 New World | 10 | 0 | 8 | propane
125 | DR01ELGEN01 | DOS RIOS EQ AREA EMERGENCY GENERATOR | 3412OT / SR4 | 5NA06872 | 3495 Valley Rd 78221 | 500 | 400 | 500 | 300
126 | LC12ELGEN05 | LEON CREEK ADMIN AREA EMERGENCY STANDBY GENERATOR |  |  | 1104 MAUERMAN RD. | out | out | out | out
127 | LS011GEN01 | FEATHERCREST LIFT STATION GENERATOR (#17143) | DFEG-673075 | G090019526 | 3847 THOUSAND OAKS - FEATHERCREST | 450 | 300 | 325 | 500
128 | LS175GEN01 | CEDAR CREEK LIFT STATION EMERGENCY GENERATOR | J1844 | 144331 | 19400 KYLE SEALE PWKY - CEDAR | 100 | 100 | 65 | 200
129 | LS208GEN01 | BRIGHTON OAKS LIFT STATION GENERATOR | 13559880200 | SD0050-K362.4D18HPSY | 2543 BRIGHTON OAKS - BRIGHTON | 100 | 100 | 50 | 100
130 |  | SOUTH PRESA LIFT STATION GENERATOR |  |  | 8510 SOUTH PRESA | no | no | gen | here
131 | LS226GEN01 | MARSHALL RD LIFT STATION GENERATOR | S415784 | 144413 | 23750 US HWY 281 N - MARSHALL | 38 | 0 | 30 | 130
132 | LS231GEN01 | COSTCO LIFT STATION GENERATOR |  |  | 1301 N. LOOP 1604 E - COSTCO - | 38 | 0 | 30 | 90
133 | LS236GEN01 | FOX GROVE LIFT STATION GENERATOR |  |  | 21355 BRANDING BAY - FOX GROVE | 100 | 100 | 80 | 190
134 | LS240GEN01 | RIVINIA LIFT STATION GENERATOR |  |  | 19500 US HWY 281 N - RAVINIA , | 38 | 0 | 30 | 90
135 | LS271GEN01 | CRESTA BELLA LIFT STATION GENERATOR |  |  | 20029 IH 10 W. |  | 0
136 | LS275GEN01 | ACCD (BOERNE STAGE ROAD) LIFT STATION GENERATOR |  |  | 29473 IH 10 West Boerne TX | 130 | 100 | 125 | 300
137 | LS281GEN01 | ALAMO RANCH "B" LIFT STATION GENERATOR |  |  | 11860 Thoroughbred Trail | 130 | 100 | 100
138 | LS284GEN01 | ELKHORN RIDGE LIFT STATION GENERATOR |  |  | 9087 Elkhorn | 100 | 100 | 100 | 200
139 | PROD002GEN901 | ANDERSON EMERGENCY GENERATOR | DSFAE-9298893 | L1102811736 | 5025 LOOP WEST 1604 NORTH | 100 | 100 | 80 | 100
140 | PROD009GEN901 | MISSION PUMP STATION EMERGENCY GENERATOR | 0387-63 NR3 | 73196911 | 615 THEO PKWY | 100 | 100 | 100
141 | PROD311GEN901 | HILDEBRAND TANK STATION GENERATOR | 8371250100 | 2093929 | 643 E. HILDEBRAND | 185 | 100 | 150 | 200
142 | PROD324GEN501 | TINKER TANK STATION GENERATOR |  |  | 246 TINKER DRIVE |  | 0
143 | PROD325GEN901 | SOUTH FOSTER GENERATOR | 0058701 | 7027794 | 2727 SOUTH FOSTER RD | 10 | 0 | 8 | propane
144 | PROD441GEN901 | SCHERTZ PARKWAY EMERGENCY GENERATOR |  |  | 1744 Schertz Parkway behind Schertz Visitor Center | 20 | 0 | 15
145 | PRODMRSCGEN010 | MISSION ROAD SERVICE CENTER EMERGENCY GENERATOR |  |  | 517 Mission Rd. | out | OUT | out | out
146 | LS165GENO1 | Encino Park lift station 165 |  |  | 3098 Caliza dr | 150 | 150 | 155 | 190
147 |  | Spare production Trailer unit |  |  | 411 Carlisle | 262 | 30.4 | 210
148 |  | Spare production Trailer unit |  |  | 411 Carlisle | 262 |  | 210
149 |  | Spare production Trailer unit |  |  | 411 Carlisle | 400 | 0.33407 | 350