## Sheet1
GROUP A | Dos Rios Waste Water Treatment Plant
ITEM | LOCATION | SIZE (IN INCHES) | QTY | FILTER TYPE | SERVICE INTERVAL | PRICING PER SERVICE | ESTIMATED SERVICES PER YEAR | TOTAL ANNUAL COST
Item 1 | Building #5- Monitoring Station
a | Inside Monitor Room | 24x24x2 | 2 | MV-8 | Per Request |  | 4 | 0
b | Inside Monitor Room | 24x24x12 | 2 | Aero Cell- 85% | Per Request |  | 4 | 0
c | Outside Mechanical Room | 16x24x2 | 4 | MV-8 | Per Request |  | 4 | 0
[5 empty] | Total Group A Item 1 |  |  | 0
Item 2 | Scattered out Buildings
a | Bldg. #19 Loft & 2 washables in adjacent barn | 20x37x1 | 1 | MV-8 | Monthly |  | 12 | 0
b | Bldg. #11 RTU Lennox | 18x24x2 | 4 | MV-8 | Monthly |  | 12 | 0
c | Bldg. #11 RTU Trane | 24x24x2 | 2 | MV-8 | Monthly |  | 12 | 0
d | Bldg. #11 Inside Top Load Compuaire Unit | 16x24x2 | 4 | MV-8 | Monthly |  | 12 | 0
e | Bldg. #14 Open Barn Pavilion Offices | 16x25x2 | 4 | MV-8 | Monthly |  | 12 | 0
f | 3-MCC Modules | 16x30x1 | 3 | Wal-Paks | Monthly |  | 12 | 0
g | Bldg. #13 Trane Unit (Not in use) | Storage | 1 | NI | Monthly |  | 12 | 0
h | Bldg. #4 | NI | 1 | Washable | Monthly |  | 12 | 0
I | Bldg. #2 RTU-ext ladder | 16x25x2 | 2 | MV-8 | Monthly |  | 12 | 0
j | Bldg. #3 yellow trailer at septic pump station | 16x25x2 | 1 | Wal-Paks | Monthly |  | 12 | 0
k | MCC-B Gray Modules RTU's | 16x25x2 | 2 | MV-8 | Monthly |  | 12 | 0
l | Access ext. Ladder | 20x24x1 | 2 | MV-8 | Monthly |  | 12 | 0
m | MCC-A Gray Module RTU's | 16x25x2 | 4 | MV-8 | Monthly |  | 12 | 0
[5 empty] | Total Group A Item 2 |  |  | 0
[5 empty] | TOTAL GROUP A |  |  | 0
GROUP B | EASTSIDE SERVICE CENTER
ITEM | LOCATION | SIZE (IN INCHES) | QTY | FILTER TYPE | SERVICE INTERVAL | PRICING PER SERVICE | ESTIMATED SERVICES PER YEAR | TOTAL ANNUAL COST
Item 1
a | Guard Shack-1/ Inspections Office-2 | NI | 3 | Washable | Monthly |  | 12 | 0
b | Maintenance Trailer- Bkdg. 100 (go to perimeter turn left) | 16x30x1 | 5 | Wall-packs | Monthly |  | 12 | 0
c | Meter shop wall RAV's | 24x24 | 2 | Gold | Monthly |  | 12 | 0
d | Main fleet barn- on the end next to fuel bay combo 4/5-#2 | NI | 1 | Washable | Monthly |  | 12 | 0
e | Parts Department (Central Office in Fleet Barn) | 20x25 | 1 | Gold | Monthly |  | 12 | 0
f | Parts Department (Central Office in Fleet Barn) | 16x20 | 2 | Gold | Monthly |  | 12 | 0
g | Parts Department (Central Office in Fleet Barn) | 12x12 | 2 | Gold | Monthly |  | 12 | 0
[5 empty] | Total Group B Item 1 |  |  | 0
Item 2 | First Floor
a | Office/Break Rm/Training Room | 20x20 | 8 | Gold | Monthly |  | 12 | 0
b | Janitor Office/Hall | 12x12 | 2 | Gold | Monthly |  | 12 | 0
c | Locked office at Stairs | 20x20 | 1 | Gold | Monthly |  | 12 | 0
d | Inside Closet room 110-A | 20x25x1 | 1 | MV-8 | Monthly |  | 12 | 0
e | Inside Closet room 110-A | 16x20x1 | 1 | MV-8 | Monthly |  | 12 | 0
f | Floor RAV's at Rm 103 (Screens) | 18x30 | 3 | Gold | Monthly |  | 12 | 0
g | Inside Closet room 103 | 20x20x1 | 2 | MV-8 | Monthly |  | 12 | 0
[5 empty] | Total Group B Item 2 |  |  | 0
Item 3 | Second Floor
a | Room 213 Floor RAV's/screen | 16x30 | 1 | Gold | Monthly |  | 12 | 0
|  | 12x24 | 1 | Gold | Monthly |  | 12 | 0
b | Room 120 (behind elevator) + screens | 18x36 | 2 | Gold | Monthly |  | 12 | 0
c | Inside Closet Pleats | 20x20x1 | 1 | MV-8 | Monthly |  | 12 | 0
|  | 20x22x1 | 1 | MV-8 | Monthly |  | 12 | 0
d | Room 206 Floor RAV/screen | 16x30 | 1 | Gold | Monthly |  | 12 | 0
e | Room 218 Floor RAV/screen | 16x36 | 1 | Gold | Monthly |  | 12 | 0
f | RAV | 16x24 | 1 | Gold | Monthly |  | 12 | 0
g | Closet behind door | 20x22x1 | 1 | MV-8 | Monthly |  | 12 | 0
h | Room 217 | 12x12 | 1 | Gold | Monthly |  | 12 | 0
i | Room 216 | 12x12 | 2 | Gold | Monthly |  | 12 | 0
j | Room 216 | 12x24 | 1 | Gold | Monthly |  | 12 | 0
k | Closet left of door Room 215 | 20x20x1 | 1 | MV-8 | Monthly |  | 12 | 0
l | Whse Unit under stairs | 20x25x1 | 1 | MV-8 | Monthly |  | 12 | 0
m | Behind tool cage on side wall | 20x20x1 | 1 | MV-8 | Monthly |  | 12 | 0
n | Next to Phone room door on side wall | 16x20x1 | 1 | MV-8 | Monthly |  | 12 | 0
[5 empty] | Total Group B Item 3 |  |  | 0
Item 4 | Third Floor
a | Floor RAV's | 14x24 | 1 | Gold | Monthly |  | 12 | 0
b | Floor RAV's | 20x30 | 1 | Gold | Monthly |  | 12 | 0
[5 empty] | Total Group B Item 4 |  |  | 0
[5 empty] | TOTAL GROUP B |  |  | 0
GROUP C | HILDEBRAND TANK
ITEM | LOCATION | SIZE (IN INCHES) | QTY | FILTER TYPE | SERVICE INTERVAL | PRICING PER SERVICE | ESTIMATED SERVICES PER YEAR | TOTAL ANNUAL COST
a | AHU 1- mechanical room under stairs | 20x25x1 | 1 | MV-8 | Monthly |  | 12 | 0
b | AHU2/5- RAV's and screens | 20x44x1 | 2 | Gold | Monthly |  | 12 | 0
c | Electrical room wall unit | NI | 1 | Washable | Monthly |  | 12 | 0
[5 empty] | TOTAL GROUP C |  |  | 0
GROUP D | Medio Creek Waste Water Treatment Plant
a | Administration Bldg. mech. Rm's left/right | 20x22x1 | 1 | MV-8 | Monthly |  | 12 | 0
b | Administration Bldg. mech. Rm's left/right | 20x20x1 | 4 | MV-8 | Monthly |  | 12 | 0
c | Bldg. #2 maintenance shop on loft | 20x20x1 | 1 | MV-8 | Monthly |  | 12 | 0
d | Bldg. #21 | 16x30x1 | 2 | Wal-Pak | Monthly |  | 12 | 0
e | Bldg. #20 | 16x30x1 | 2 | Wal-Pak | Monthly |  | 12 | 0
f | Bldg. MCC | 14x20 | 1 | Gold | Monthly |  | 12 | 0
g | Bldg. 4 & 8 | NI | 2 | Washable | Monthly |  | 12 | 0
h | Bldg. #5 | 16x30x1 | 1 | Wal-Pak | Monthly |  | 12 | 0
i | White Bldg. left of fill station (Outside Haakon Unit) | 24x24x2 | 4 | MV-8 | Monthly |  | 12 | 0
j | White Bldg. right of fill station (2 suspend units-8') | 25x16x1 | 6 | MV-8 | Monthly |  | 12 | 0
k | Bldg.15 | 16x30x1 | 1 | Wal-Pak | Monthly |  | 12 | 0
[5 empty] | TOTAL GROUP D |  |  | 0
GROUP E | NORTHEAST SERVICE CENTER
ITEM | LOCATION | SIZE (IN INCHES) | QTY | FILTER TYPE | SERVICE INTERVAL | PRICING PER SERVICE | ESTIMATED SERVICES PER YEAR | TOTAL ANNUAL COST
a | RTU-1 | 16x25x2 | 4 | MV-8 | Monthly |  | 12 | 0
b | RTU-2 | 20x25x2 | 4 | MV-8 | Monthly |  | 12 | 0
c | RTU-3 | 20x20x2 | 4 | MV-8 | Monthly |  | 12 | 0
d | Access roof ext. ladder front side | 25x20x2 | 4 | MV-8 | Monthly |  | 12 | 0
e | Window A/C back side | NI | 1 | Washable | Monthly |  | 12 | 0
[5 empty] | TOTAL GROUP E |  |  | 0
GROUP F | SALADO CREEK WASTE WATER TREATMENT PLANT
a | RTU #1 & #2 | 15x20x2 | 8 | MV-8 | Monthly |  | 12 | 0
b | RTU #3 | 25x16x1 | 3 | MV-8 | Monthly |  | 12 | 0
[5 empty] | TOTAL GROUP F |  |  | 0
GROUP G | Twin Oaks ASR
Item 1 | ASR FACILITY
a | Guardshack Closet Unit | 20x24x1 | 1 | MV-8 | Monthly |  | 12 | 0
b | AHU #703 Admin Office A-107 (Pull down ladder) | 16x20x2 | 1 | MV-8 | Monthly |  | 12 | 0
c | AHU #703 Admin Office A-107 (Pull down ladder) | 16x20x2 | 1 | MV-8 | Monthly |  | 12 | 0
d | AHU #703 Admin Office A-107 (Pull down ladder) | 20x20x2 | 1 | MV-8 | Monthly |  | 12 | 0
e | AHU #705 A-117 (loft) | 20x20x2 | 1 | MV-8 | Monthly |  | 12 | 0
f | AHU #705 A-117 (loft) | 16x24x2 | 4 | MV-8 | Monthly |  | 12 | 0
[5 empty] | TOTAL GROUP G ITEM 1 |  |  | 0
Item 2 | Chemical Building | Chemical Building
a | AHU #601 (C-106) | 16x30x1 | 1 | MV-8 | Monthly |  | 12 | 0
[5 empty] | TOTAL GROUP G ITEM 2 |  |  | 0
Item 3 | Outbuildings
a | MCC Next door to chemical | 16x30x1 | 2 | Wal-Packs | Monthly |  | 12 | 0
b | Booster pump station | 16x30x1 | 2 | Wal-Packs | Monthly |  | 12 | 0
[5 empty] | TOTAL GROUP G ITEM 3 |  |  | 0
[5 empty] | TOTAL GROUP G |  |  | 0
GROUP H | SAWS HEADQUARTERS
ITEM | LOCATION | SIZE (IN INCHES) | QTY | FILTER TYPE | SERVICE INTERVAL | PRICING PER SERVICE | ESTIMATED SERVICES PER YEAR | TOTAL ANNUAL COST
1 | TOWER 1
a | 1st Floor Electric Heat | 15X20X1 | 15 | Pleated | Annually |  | 1 | 0
b | 1st Floor Electric Heat | 12X20X1 | 9 | Pleated | Annually |  | 1 | 0
c | 2nd Floor Electric Heat | 12X20X1 | 17 | Pleated | Annually |  | 1 | 0
d | 2nd Floor Electric Heat | 15X20X1 | 4 | Pleated | Annually |  | 1 | 0
e | 3rd Floor Electric Heat | 12X20X1 | 12 | Pleated | Annually |  | 1 | 0
f | 3rd Floor Electric Heat | 15X20X1 | 6 | Pleated | Annually |  | 1 | 0
g | 4th Floor Electric Heat | 12X20X1 | 16 | Pleated | Annually |  | 1 | 0
h | 4th Floor Electric Heat | 15X20X1 | 3 | Pleated | Annually |  | 1 | 0
I | 5th Floor Electric Heat | 12X20X1 | 14 | Pleated | Annually |  | 1 | 0
j | 5th Floor Electric Heat | 15X20X1 | 5 | Pleated | Annually |  | 1 | 0
k | 6th Floor Electric Heat | 15X20X1 | 11 | Pleated | Annually |  | 1 | 0
l | 6th Floor Electric Heat | 12X20X1 | 10 | Pleated | Annually |  | 1 | 0
m | Floor Air Handler Unit G2 | 64X111X2 | 1 | Media | Quarterly |  | 4 | 0
n | Floor Air Handler Unit G2 | 27X11X2 | 4 | Pre Filter Media | Quarterly |  | 4 | 0
o | Floor Central Plant FCU | 16X25X2 | 1 | Pleated | Quarterly |  | 4 | 0
p | Floor Chiller Office | 19X19X1 | 1 | Pleated | Quarterly |  | 4 | 0
q | Floor Elevator Room FCU G1-1 | 16X32X1 | 1 | Pleated | Quarterly |  | 4 | 0
r | Floor Key Shop FCU-G-2 | 16X25X2 | 1 | Pleated | Quarterly |  | 4 | 0
s | Floor Penthouse Elevator R-3 | 20X25X2 | 6 | Pleated | Quarterly |  | 4 | 0
t | 1st – 5th floors Air Handler Units | 27X94X2 | 36 | Media | Quarterly |  | 4 | 0
u | 1st – 5th floors Air Handler Units | 62x96x2 | 10 | Pre Filter Media | Quarterly |  | 4 | 0
v | 3rd Floor Data Room Liebert 2 | 24X24X4 | 5 | Pleated | Quarterly |  | 4 | 0
w | 3rd Floor Data Room Liebert 3 | 24X24X4 | 5 | Pleated | Quarterly |  | 4 | 0
x | 3rd Floor Remittance Processing | 20X25X2 | 1 | Pleated | Quarterly |  | 4 | 0
y | Penthouse R1 & R2 | 27X107X2 | 8 | Media | Quarterly |  | 4 | 0
z | 3rd Floor DATA Room Liebert 1 | 24X24X4 | 5 | Pleated | Quarterly |  | 4 | 0
aa | 3rd Floor Data Room Liebert 2 | 24X24X4 | 5 | Pleated | Quarterly |  |  | 0
ab | 3rd Floor DATA Room Liebert 3 | 24X24X4 | 5 | Pleated | Quarterly |  |  | 0
ac | 3rd Floor Room 330 | 16X25X2 | 7 | Pleated | Quarterly |  | 4 | 0
ad | Roof Top OA Handler | 27 X 73 X 2 | 1 | Media | Monthly |  | 12 | 0
ae | Roof Top OA Handler | 21 ¾ X 74 X 2 | 1 | Media | Monthly |  | 12 | 0
[5 empty] | TOTAL GROUP H ITEM 1 |  |  | 0
Item 2 | SAWS Headquarters Kitchen
| Tower 1 Units R-4 | 25 5/8 X 74 ½ X 2 | 1 | Media | Monthly |  | 12 | 0
| Tower 1 Units R-5 | 21 ½ X 72 ½ X 2 | 2 | Media | Monthly |  | 12 | 0
| Tower 1 Units R-5 | 27 X 69 X 2 | 1 | Pre Media Filter | Monthly |  | 12 | 0
| Tower 1 Kitchen OA Handler R-6 | 25 3/8 X 58 X 2 | 1 | Media | Monthly |  | 12 | 0
| Tower 1 Kitchen OA Handler R-6 | 26 X 58 X 2 | 1 | Media | Monthly |  | 12 | 0
[5 empty] | TOTAL GROUP H ITEM 2 |  |  | 0
GROUP H | SAWS HEADQUARTERS
ITEM | LOCATION | SIZE (IN INCHES) | QTY | FILTER TYPE | SERVICE INTERVAL | PRICING PER SERVICE | ESTIMATED SERVICES PER YEAR | TOTAL ANNUAL COST
3 | TOWER 2
a | 1st Floor Electric Heat | 12X20X1 | 16 | Pleated | Annually |  | 12 | 0
b | 1st Floor Electric Heat | 15X20X1 | 8 | Pleated | Annually |  | 12 | 0
c | 2nd Floor Electric Heat | 12X20X1 | 17 | Pleated | Annually |  | 12 | 0
d | 2nd Floor Electric Heat | 15X20X1 | 4 | Pleated | Annually |  | 12 | 0
e | 3rd Floor Electric Heat | 15X20X1 | 6 | Pleated | Annually |  | 12 | 0
f | 4th Floor Electric Heat | 12X20X1 | 13 | Pleated | Annually |  | 12 | 0
g | 4th Floor Electric Heat | 15X20X1 | 6 | Pleated | Annually |  | 12 | 0
h | Floor ACU 24-1 Room 455 | 16X20X2 | 2 | Pleated | Quarterly |  | 4 | 0
i | Floor ACU 24-2 Room 446 | 16X20X2 | 2 | Pleated | Quarterly |  | 4 | 0
j | Floor Central Plant FCU-B/1 | 16X32X2 | 3 | Pleated | Quarterly |  | 4 | 0
k | Floor FCU R-2 | 16X16X2 | 2 | Pleated | Quarterly |  | 4 | 0
l | Floor Mail Room Basement | 16X25X2 | 1 | Pleated | Quarterly |  | 4 | 0
m | Floor Main Frame Room 451 | 24X24X2 | 4 | Pleated | Quarterly |  | 4 | 0
n | 1st-4th Floor Air Handler Units | 108X26.5X2 | 32 | Media | Quarterly |  | 4 | 0
o | Floor Penthouse AC | 20X24X1 | 1 | Pleated | Quarterly |  | 4 | 0
p | 1st -4th Floor Air Handler Units | 110X64X1 | 8 | Pre Filter Media | Quarterly |  | 4 | 0
q | Roof top Air Handler Unit | 18.5 X 68 X 2 | 8 | Media | Monthly |  | 12 | 0
r | Roof top Air Handler Unit | 69 X 22.5 X2 | 2 | Pre Filter Media | Monthly |  | 12 | 0
[5 empty] | TOTAL GROUP H ITEM 3 |  |  | 0
[5 empty] | TOTAL GROUP H |  |  | 0
GROUP I | SAWS Environmental Laboratory
a | Air Handler Unit 1 | 24X110X2 | 4 | Media | Monthly |  | 12 | 0
b | Air Handler Unit 1 | 12X110X2 | 1 | Media | Monthly |  | 12 | 0
c | Air Handler Unit 1 | 14X114X2 | 1 | Pre Filter Media | Monthly |  | 12 | 0
d | Air Handler Unit 2 | 16X60X2 | 4 | Media | Monthly |  | 12 | 0
e | Air Handler Unit 2 | 18X62X2 | 2 | Pre Filter Media | Monthly |  | 12 | 0
[5 empty] | TOTAL GROUP I |  |  | 0
GROUP J | Van Dyke Service Center
| By front Entrance | 20X25X1 | 2 | MV-8 | Monthly |  | 12 | 0
[5 empty] | TOTAL GROUP J |  |  | 0
GROUP K | Mission Road Service Center
a | Quality Control Bldg. | 16X20X2 | 4 | Pleated | Monthly |  | 12 | 0
b | Quality Control Bldg. | 20X20X2 | 8 | Pleated | Monthly |  | 12 | 0
c | Quality Control Bldg. | 20X25X2 | 12 | Pleated | Monthly |  | 12 | 0
d | Quality Control Bldg. | 16X20X2 | 2 | Pleated | Monthly |  | 12 | 0
[5 empty] | TOTAL GROUP K |  |  | 0
GROUP L | Desal
a | Titan Ahus Behind Main Building (Medium Titan - PLTA24242) | 24x24x2 | 8 | PLEATED T/A MR8 | Monthly |  | 12 | 0
b | Titan Ahus Behind Main Building (Smaller Titan - PLTA20202) | 20x20x2 | 6 | PLEATED T/A MR8 | Monthly |  | 12 | 0
c | Titan Ahus Behind Main Building (Larger Titans - PLTA18202) | 18x20x2 | 20 | PLEATED T/A MR8 | Monthly |  | 12 | 0
d | Titan Ahus Behind Main Building (Larger Titans - PLTA20242) | 20x24x2 | 10 | PLEATED T/A MR8 | Monthly |  | 12 | 0
e | Biggest Ahu (Prefilters - PLTA24242) | 24x24x2 | 8 | PLEATED T/A MR8 | Monthly |  | 12 | 0
f | Small Data Room (Leibert Units - PLTA20254) | 20x25x4 | 16 | PLEATED T/A MR8 | Monthly |  | 12 | 0
g | Large Server Room (Leibert Units - MR1318244) | 18x24x4 | 20 | GREEN MR13 HC | Monthly |  | 12 | 0
h | Mech Room (Leibert Units - PLTA20202) | 20x20x2 | 8 | PLEATED T/A MR8 | Monthly |  | 12 | 0
i | Mech Room (Leibert Units - PLTA20204) | 20x20x4 | 8 | PLEATED T/A MR8 | Monthly |  | 12 | 0
j | Office 104 (Fan Power Boxes - PLTA16202) | 16x20x2 | 2 | PLEATED T/A MR8 | Monthly |  | 12 | 0
k | Office 104 (Fan Power Boxes - PLTA16252) | 16x25x2 | 1 | PLEATED T/A MR8 | Monthly |  | 12 | 0
l | Office 105 (Fan Power Boxes - PLTA16202) | 16x20x2 | 2 | PLEATED T/A MR8 | Monthly |  | 12 | 0
m | Office 105 (Fan Power Boxes - PLTA16252) | 16x25x2 | 1 | PLEATED T/A MR8 | Monthly |  | 12 | 0
n | Maint. Room (PLTA16202) | 16x20x2 | 1 | PLEATED T/A MR8 | Monthly |  | 12 | 0
o | Maint. Room (PLTA16252) | 16x25x2 | 1 | PLEATED T/A MR8 | Monthly |  | 12 | 0
p | Conference Rm (2 Units - PLTA16202 ) | 16x20x2 | 2 | PLEATED T/A MR8 | Monthly |  | 12 | 0
q | Conference Rm (2 Units - PLTA16252 ) | 16x25x2 | 2 | PLEATED T/A MR8 | Monthly |  | 12 | 0
r | Breakroom (PLTA16202) | 16x20x2 | 2 | PLEATED T/A MR8 | Monthly |  | 12 | 0
s | Breakroom (PLTA16252) | 16x25x2 | 1 | PLEATED T/A MR8 | Monthly |  | 12 | 0
t | Rm 121 ( PLTA14202) | 14x20x2 | 2 | PLEATED T/A MR8 | Monthly |  | 12 | 0
u | Rm 123 ( PLTA14202) | 14x20x2 | 2 | PLEATED T/A MR8 | Monthly |  | 12 | 0
v | Large Conference Room (PLTA14202) | 14x20x2 | 2 | PLEATED T/A MR8 | Monthly |  | 12 | 0
w | Kitchen (PLTA24242) | 24x24x2 | 2 | PLEATED T/A MR8 | Monthly |  | 12 | 0
x | Large Conference Rm (Storage - PLTA24242) | 24x24x2 | 2 | PLEATED T/A MR8 | Monthly |  | 12 | 0
y | Lab (PLTA24242) | 24x24x2 | 2 | PLEATED T/A MR8 | Monthly |  | 12 | 0
z | Control Rm ( PLTA16202) | 16x20x2 | 1 | PLEATED T/A MR8 | Monthly |  | 12 | 0
aa | UTSA Lab ( PLTA16202) | 16x20x2 | 1 | PLEATED T/A MR8 | Monthly |  | 12 | 0
ab | UTSA Lab ( PLTA16252) | 16x25x2 | 1 | PLEATED T/A MR8 | Monthly |  | 12 | 0
ac | Rm 135 ( PLTA14202) | 14x20x2 | 2 | PLEATED T/A MR8 | Monthly |  | 12 | 0
ad | Rm 117 ( PLTA14202) | 14x20x2 | 2 | PLEATED T/A MR8 | Monthly |  | 12 | 0
ae | Room 118 (PLTA20254) | 20x25x4 | 2 | PLEATED T/A MR8 | Monthly |  | 12 | 0
af | Room 118 |  | 2 | WASH FILTERS IN MINI SPLITS | Monthly |  | 12 | 0
ag | Outdoor ERV | 24x24x12 | 9 | 85% 4V W/GASKET | Yearly |  | 1 | 0
[5 empty] | TOTAL GROUP L |  |  | 0
GROUP M | Northside Operation Center
a | A106, 108, 116, 121, 122, 124A, 126, NEAR A130, MENS RR near A134 (FPB - PLTA17191 ) | 17x19x1 | 16 | PLEATED T/A MR8 | Yearly |  | 1 | 0
b | Admin Bldg (PLTA20301) | 20x30x1 | 1 | PLEATED T/A MR8 | Yearly |  | 1 | 0
c | Ops Center Mech Room (PLTA20242) | 20x24x2 | 8 | PLEATED T/A MR8 | Monthly |  | 12 | 0
d | Fleet |  | 2 | Clean 2 Washables | Monthly |  | 12 | 0
e | Warehouse |  | 1 | Clean 1 Washables | Monthly |  | 12 | 0
[5 empty] | TOTAL GROUP M |  |  | 0
GROUP N | Westside Operation Center
a | FPB UNITS - ADMIN BLDG - 1 EA in most offices (VAV - PLTA17191 ) | 17x19x1 | 16 | PLEATED T/A MR8 | Yearly |  | 1 | 0
b | Unit # 14 ( PLTA20301) | 20x30x1 | 1 | PLEATED T/A MR8 | Yearly |  | 1 | 0
c | Operations Center Mech Room (PLTA12242) | 20x30x1 | 1 | PLEATED T/A MR8 | Yearly |  | 1 | 0
d | Ops Center Mech Room (PLTA12242) | 12x24x2 | 3 | PLEATED T/A MR8 | Monthly |  | 12 | 0
e | Ops Center Mech Room (PLTA20202) | 20x20x2 | 8 | Clean 2 Washables | Monthly |  | 12 | 0
f | Fleet |  | 2 | Clean 2 Washables | Monthly |  | 12 | 0
g | Warehouse |  | 1 | Clean 1 Washables | Monthly |  | 12 | 0
[5 empty] | TOTAL GROUP N |  |  | 0
[5 empty] | TOTAL GROUP A - N |  |  | 0